From: 	Mary Adams

To:	alison@elkhornslough.org

Date: 	4/3/2008 4:41:21 PM

Subject: 	2006 data

Hi Alison,

Im attaching the lab data with revisions I made shown in yellow.

When you have a chance, please confirm for me that these changes are appropriate.  Every cell I made a change to is colored in yellow - and I put a comment explaining the change in column 40 (Mary :Comments on changes (shown by yellow cells)).

Feel free to give me a call while you are looking at this. It may be easier to walk through the following details together.

Summary of the major changes I have made follows:

A) Station code 000NONPJ

Kirsty at UCSC does not have record of that StationCode.  So, based on our conversation I decided to change the  station code to LabQA - as this is  likely the Station Code applied to a sample from another project that was used for QA analysis within a batch.  If this is not the proper way to name these data please let me know

B) Field duplicate data

When the SampleReplicate number was 2 or greater I changed the SampleTypeCode from "Grab" to "FieldDuplicate". Please make this same change to all future data (identified by entering "FieldDup" in SampleTypeCode and by number "2" in SampleReplicate column).

C) Inter-Lab comparison data for nutrients

1) Change SampleTypeCode for data from UCSC to QC (because the intent of this sample is for inter-lab comparison)

2) I will average results for MLML and MCCC labs when results from both exist for the same site, date, time and analyte.  To do this I identified all the pairs of data (same site, date, time and analyte) by changing the SampleTypeCode to "GrabAverage".  This is for my assessment purposes only - no action is required by you for future data submittals.

D) Lab Duplicates

For all samples with the number "2" in the LabReplicate column - I changed the SampleTypeCode to "LabDuplicate".  Please make this same change to all future data (identified by entering "LabDuplicate" in SampleTypeCode and by number "2" in LabReplicate column).

E)Sample Times

I also changed two samples times - they were different from the other sample times for the same site and date by exactly 1 hour. I made the assumption that these were simple typos. please double check and let me know if that was the incorrect thing to do.

Thanks you so much for all you time and for working with me to better understand the data.

Have a good afternoon

Mary :)

Mary S. Adams

Central Coast Ambient Monitoring Program (CCAMP)

Regional Water Quality Control Board

895 Aerovista Place, Suite 101

San Luis Obispo, CA 93401

(805) 542-4768

Fax    788-3502

madams@waterboards.ca.gov

http://www.ccamp.org

If you have a comment you would like to share regarding the customer service of any state employee please visit the following site:

http://www.calepa.ca.gov/customer/CSForm.asp

* * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * *

Please note my new email address as of November 5th.

madams@waterboards.ca.gov

* * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * *