From: 	Bridget Hoover <Bridget.Hoover@noaa.gov>

To:	'Mary Adams' <madams@waterboards.ca.gov>, <volunteer@coastalws.org>, <Gary.Conley@noaa.gov>

Date: 	1/28/2008 12:44:51 PM

Subject: 	RE: Clean Streams DO

Hi Mary,  I did change all of the units for E.coli to MPN/100ml.  I changed

all the temperature measurements to water temp.  They are identified that

way in the dB so I don't know why it's generic in your spreadsheet.

Regarding assumptions below (see spreadsheet for specifics):

The cooper units of measurement flip flop between mg/L and ug/L. Many of the

mg/L data are already flagged reject but not all. Should they all be flagged

reject?  Are both units correct as reported or should edits be made?

All copper measurements with units of mg/L from the Urban Watch kits using a

field kit should be rejected.  Those with ug/L collected during the dry

run/FF and analyzed in the lab are good.

There are about 5 entries for analyte CU - is this also cooper? is there any

reason to have two separate analyte names ?  Can I Change CU to Cooper?

Yes, but make it copper (not cooper :-))

There are two separate analyte names for Hardness - Both "Hardness" and

"Hardness as CaCO3"  Are these truly separate or should they both be as

CaCO3?  They are the same

The Magnesium units of measurement flip flop between mg/L and ug/L.  Are

both units correct as reported or should edits be made?  They should always

be mg/L

Ammonia is listed by two separate analyte names, "Ammonia as N" and NH3-N.

Are these the same?  Are Both Ammonia as N?  This is a tough one.  I think

CWC needs to weigh in here.  It may depend on the program and whether they

are field results or lab.

All the orthophosphate data is rejected and the comment states "imprecise

analyte notation". Could you please clarify - does this mean that it is

unknown if the result is as P or as PO4?  The orthophosphate data should not

be rejected.  All measurements collected with a Hanna meter for UW are

PO4-PO4 in the dB.  We convert to PO4-P for reporting.  The orthophosphate

results from Snapshot Day and First Flush events are analyzed in the lab and

reported in the dB as PO4-P.

The Conductivity units of measurement flip flop between mS/cm and uS/cm.

There are many examples units say uS but result is less than 100.  Do you

have data in both units of measurement?  If so please take another look at

these data. If not please advise how to handle these data.  I cleaned up all

of the conductivity units for Gary.  Do you have that?

Is "temperature" the water Temp?  Yes

Transparency generally is reported in cm - there are a few in inches. Is

this correct?  Yes, some reported in inches.

TSS is listed by two separate analyte names, "TSS" and "Total Suspended

Solids".  Are these the same?  Yes

For Turbidity both JTU and NTU are reported. Is this correct?  Yes

Mary, I'm sorry you guys got such a mess with the data.  Gary and I have had

this discussion, but basically we export the data from the dB and do the QA

in excel then analyze the data for the report.  I guess it doesn't always

get cleaned up in the dB.  We need to work on that.  I'm just sorry that it

wasn't cleaned up before you guys got it.  I'm hoping the upload forms will

help us with this in the future!  B

Bridget  Hoover

Water Quality Protection Program Director

Monterey Bay National Marine Sanctuary

299 Foam Street

Monterey, CA  93940

B (831) 647-4217

F (831) 647-4250

www.montereybay.noaa.gov/

-----Original Message-----

From: Mary Adams [mailto:madams@waterboards.ca.gov]

Sent: Saturday, January 26, 2008 3:45 PM

To: volunteer@coastalws.org; Bridget.Hoover@noaa.gov; Gary.Conley@noaa.gov

Cc: tcdoan@coastalws.org; Karen Worcester; Mary Adams

Subject: RE: Clean Streams DO

Hi Friends - I took a quick look at the data have a few more questions for

you.  Most of these are really easy and I think I know the answers but I am

not allowed to assume anything for 303(d) assessment.  Could you take a few

more minutes of your time to go over the list of questions below and the

list of questions in the attached Excel file?

First Ive attached a file with some of the outliers, unit/analyte mismatches

and other concerns  I wanted to get your final input on.  Could you take

another look at these and let us know if there are still edits to be made or

if these individual results should be rejected.  - please just comment in

the Excel file next to my comment/question.

Also, a few general observations / questions for which I need your

calcification

The cooper units of measurement flip flop between mg/L and ug/L. Many of the

mg/L data are already flagged reject but not all. Should they all be flagged

reject?  Are both units correct as reported or should edits be made?

There are about 5 entries for analyte CU - is this also cooper? is there any

reason to have two separate analyte names ?  Can I Change CU to Cooper?

There are two separate analyte names for Hardness - Both "Hardness" and

"Hardness as CaCO3"  Are these truly separate or should they both be as

CaCO3?

The Magnesium units of measurement flip flop between mg/L and ug/L.  Are

both units correct as reported or should edits be made?

Ammonia is listed by two separate analyte names, "Ammonia as N" and NH3-N.

Are these the same?  Are Both Ammonia as N?

All the orthophosphate data is rejected and the comment states "imprecise

analyte notation". Could you please clarify - does this mean that it is

unknown if the result is as P or as PO4?

The Conductivity units of measurement flip flop between mS/cm and uS/cm.

There are many examples units say uS but result is less than 100.  Do you

have data in both units of measurement?  If so please take another look at

these data. If not please advise how to handle these data.

Is "temperature" the water Temp?

Transparency generally is reported in cm - there are a few in inches. Is

this correct?

TSS is listed by two separate analyte names, "TSS" and "Total Suspended

Solids".  Are these the same?

For Turbidity both JTU and NTU are reported. Is this correct?

Thank you so much for taking the time to help me resolve the final

questions.  I will send you folks all the fact sheets  we generate from your

data for your review.

Have a good weekend

Mary :)

Mary S. Adams

Central Coast Ambient Monitoring Program (CCAMP)

Regional Water Quality Control Board

895 Aerovista Place, Suite 101

San Luis Obispo, CA 93401

(805) 542-4768

Fax    788-3502

madams@waterboards.ca.gov

http://www.ccamp.org

If you have a comment you would like to share regarding the customer service

of any state employee please visit the following site:

http://www.calepa.ca.gov/customer/CSForm.asp

* * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * *

Please note my new email address as of November 5th.

madams@waterboards.ca.gov

* * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * *

>>> Bridget Hoover <Bridget.Hoover@noaa.gov> 1/14/2008 5:13 PM >>>

Gary,  I checked the Salinas Clean Stream DO results with about 10% of the

data sheets and they all match, so I'd say your data is good.  B

Bridget  Hoover

Water Quality Protection Program Director

Monterey Bay National Marine Sanctuary

299 Foam Street

Monterey, CA  93940

B (831) 647-4217

F (831) 647-4250

www.montereybay.noaa.gov/

-----Original Message-----

From: Gary Conley [mailto:Gary.Conley@noaa.gov]

Sent: Friday, January 11, 2008 11:35 AM

To: Volunteer

Cc: Mary Adams; Bridget Hoover

Subject: Clean Streams DO

Hi Debbie,

Happy new year!  I have been going through some of the volunteer

monitoring program data files to support the Regional Water Board's 303d

process.

Can you have a quick look at the attached file and give me

recommendations about some of the very low and the very high dissolved

oxygen measurements for Clean Streams and Snapshot day (R3_CLNStrm and

R3_Snap in the Project column).  Should some of these measurements be

results be rejected as unreasonable values due to entry or measurement

errors?

Thanks for the help.

Gary

--

~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~

Gary Conley

Water Quality Analyst

Monterey Bay National Marine Sanctuary

110 Shaffer Road

Santa Cruz, CA  95060-5730

(831) 420-3663

www.mbnms-simon.org

~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~

CC:	<tcdoan@coastalws.org>, 'Karen Worcester' <Kworcester@waterboards.ca.gov>