## Questions to submitter 031611
Dear Shannon Grund,
We have been reviewing the sample station location information you recently sent us by email. That table you sent is attached as an FYI and is called "LACSD RW GPS Coordinates 1_10".
In looking at those sample stations in GIS, we have a couple of questions for a few of the stations.
1. In order to make it easy to ask the questions, we inserted each question on each of the attached pics.
2. We also tried to match the sample stations listed in the table you sent with lat longs with the sample site IDs in the actual data tables. We found that the sample stations and the data set sample site IDs (Loc-subloc) did not exactly match between the two tables. We would appreciate it if you could review our association of these two IDs and let us know if they are correct. The table associating these is called "Data Station_Sample Station Lat Long association "
3. We also found that some sample stations in the datasets were not in the table of stations with lat longs. Those are shown in the same table attached called "Data Station_Sample Station Lat Long association ". Could you please provide the lat longs for those stations?
4. In the table you sent with station lat longs, there are stations in it that we did not receive data for. Could you please provide available data for those sites? (See attached table"Data Station_Sample Station Lat Long association")
5. Are there any stations in the data set that are not receiving water sampling stations?
Thank you for your help on this. Please let me know if I need to contact someone else for answers to these questions.
Nancy
Hi Nancy,
I attached a response to your questions regarding our receiving water station locations. Also, see email below with descriptions of our receiving water locations, we are having staff go out to the sites to confirm the GPS coordinates and I will provide those to you once I hear back from them.
As far as the receiving water data for several of our Whittier Narrows WRP stations. I apologize, but we inadvertently missed those stations in our original data dump. We transitioned from our previous mainframe system to our LIMS systems during the data dump date range, so this data must have been inadvertently not included. Can we provide this data to you?
Please let me know if you have any questions.
Thanks,
Shannon Grund, P.E., LEED A.P.
Project Engineer, Monitoring Section
Los Angeles County Sanitation Districts
P.(562)908‑4288 x2843 ¦ F.(562)908‑4293
‑‑‑‑‑Original Message‑‑‑‑‑
From: Markle, Phil
Sent: Thursday, March 17, 2011 7:59 AM
To: Grund, Shannon; Heil, Ann
Subject: RE: Questions on Sanitation Districts data submitted for 2012 303d/305b Integrated Report
Shannon,
The C1 location on San Jose Creek as plotted on file R4_SanitDistrLACo_SanJoseCrkQuestionRev.jpg is not correct. It should be immediately to the left of the Workman Mill Rd overpass. Staff is going out to check the GPS coordinates.
The RB location on Santa Clara River as plotted on file R4_SanitDistrLACo_santaClaraQuestionRev.jpg is not correct. RA is correct and RB should be on the left (west) side of Bouquet Canyon Road overpass.
The WN RD‑B location as plotted on file R4_SanitDistrLACo_Zone1DitchQuestionRev.jpg and R4_SanitDistrLACo_Zone1DitchzoomedoutQuestionRev.jpg is not correct. It should be near WN RD on Rio Hondo. Staff are going out to check the coordinates. Their label for Zone 1 Ditch is correct as well as the location of the RB and RB‑B sites. As for Location RC, it is a location below an outfall that ultimately flows to Zone 1 Ditch. However, this out fall is not in use and has not been used for many, many years.

## Associated station names
Location Name | River | GPS Coordinates | Data Sheet Station Name
LB-RA1 | Coyote Creek | N 33° 48' 11.0" W 118° 05' 3.4" | SG-RA1
LB-RA | Coyote Creek | N 33° 47' 48.6" W 118° 05' 19.8" | SG-RA
LB-RA1B | Coyote Creek | N 33º 47' 53.6” W 118º 05' 15.6" | SG-RA1B
LB-RA2 | SGR Estuary | N 33° 47' 13.5" W 118° 05' 37.2" | SG-RA2
LB-R6 | SGR Estuary | N 33° 46' 26.3" W 118° 05' 50.1" | SG-R6
LB-R7 | SGR Estuary | N 33° 45' 34.1" W 118° 05' 51.8" | SG-R7
LB-R8 | SGR Estuary | N 33° 44’ 50.3" W 118° 06’ 49.3" | SG-R8
LC-R31 | SGR (Mainstem) | N 33° 53' 16.9” W 118° 06' 30.6" | SG-R31
LC-R4 | SGR (Mainstem) | N 33° 52' 23.0" W 118° 06' 23” | SG-R4
LC-R31B | SGR (Mainstem) | N 33º 52' 46.6” W 118º 06' 30.0" | SG-31B
LC-R9W | SGR (Mainstem) | N 33° 47' 27.6" W 118° 05' 30.8" | SG-R9W
Pom-RA | SJC | N 34° 3’ 18.8’’ W 117° 47’ 44.1’’ | POM-RA
Pom-RC | SJC | N 34° 01' 8.6" W 117° 50' 27.7" | POM-RC
Pom-RD | SJC | N 34° 01’ 55.5 W 118° 00’ 11.6” | POM-RD
SJC-C1 | SJC | N 34° 02' 13.8" W 118° 01' 03.5" | SG-C1
SJC-C2 | SJC | N 34° 02' 08.5" W 118° 01' 16.7" | SG-C2
SJC-R10 | SGR | N 34 2.0' 22.3" W 118 01' 30.7" | SG-R10
SJC-R2 | SGR | N 33° 55' 48.5" W 118° 06' 27.1" | SG-R2
SJC/WN-R11 | SGR | N 34° 02' 09.9" W 118° 01' 53.4" | SG-R11
SJC-R12 | SGR | N 33° 59’ 38.2” W 118° 04’ 24.6” | SG-R12
WN-RA | SGR | N 34° 01' 17.1" W 118° 03' 19.8" | WN-RA
WN-RAB | SGR | N 34° 01' 20.5" W 118° 03' 17.4" | Location without data
WN-RB | Zone 1 Ditch | N 34° 01' 38.3" W 118° 03' 30.4" | Location without data
WN-RBB | Zone 1 Ditch | N 34° 01' 38.1" W 118° 03' 31.1" | Location without data
WN-RC | Zone 1 Ditch | N 34° 01' 44.8” W 118° 03' 40.8” | Location without data
WN-RD | Rio Hondo | N 34° 01' 53.3” W 118° 04' 15.3” | Location without data
WN-RDB | Rio Hondo | N 34° 01' 38.0" W 118° 03' 30.8" | Location without data
WN-RD1 | Rio Hondo | N 34° 02' 26.5" W 118° 04' 27” | SG-RD1
SA-RA | SCR | N 34° 25' 26.5" W 118° 32' 22.4" | SCR-RA
SA-RB | SCR | N 34° 25' 23.8" W 118° 32' 22.6" | SCR-RB
VA-RC | SCR | N 34° 25' 52.5" W 118° 35' 38.7" | SCR-RC
VA-RD | SCR | N 34° 25' 58.1" W 118° 35' 40.8" | SCR-RD
VA-RE | SCR | N 34º 25' 06.8" W 118º 38' 8.5” | SCR-RE
No Lat Longs for data station |  |  | SCR R11
No Lat Longs for data station |  |  | SCR R12
No Lat Longs for data station |  |  | SCR R14
No Lat Longs for data station |  |  | SCR R8
No Lat Longs for data station |  |  | SCR RB01
No Lat Longs for data station |  |  | SCR RF
No Lat Longs for data station |  |  | POM MISC
No Lat Longs for data station |  |  | SG MISC
No Lat Longs for data station |  |  | SG R5
No Lat Longs for data station |  |  | SG R9E

## Sampling Locations (final)
REF # | Region | NJK MAPPED WBNAME (Assessors copy this into LOE) | WBID (Assessors copy this into LOE) | Old or New Water Body | Site name | LOC-SUBLOC (crosswalk to results table) | Sample Location | Site Description | NJK - NOTES and QUESTIONS (ones in Pink need Help from Submitter) | County | Lat | Long | DATUM | Submitter folder | Report Name containing lat longs
| 4 | Castaic Creek Reach 1 (confluence of Santa Clara River to Castaic Lagoon) | CAR4035100020110406144154 | NEW |  | SCR R12 |  |  |  |  | 34.4267 | -118.6285
tr20 | 4 | Coyote Creek | CAR4051501019980917123914 | OLD | LB-RA1 | SG-RA1 | Coyote Creek |  |  | Los Angeles | 33.8031 | -118.0843 | assuming NAD83 | K:\2012 Integrated Report\2012 Data - QA Verified\Sanitation Districts of LA County - Various R4 WBs | LACSD RW GPS Coordinates 1_10
tr20 | 4 | Coyote Creek | CAR4051501019980917123914 | OLD | LB-RA | SG-RA | Coyote Creek |  |  | Los Angeles | 33.7968 | -118.0888 | assuming NAD83 | K:\2012 Integrated Report\2012 Data - QA Verified\Sanitation Districts of LA County - Various R4 WBs | LACSD RW GPS Coordinates 1_10
tr20 | 4 | Coyote Creek | CAR4051501019980917123914 | OLD | LB-RA1B | SG-RA1B | Coyote Creek |  |  | Los Angeles | 33.7982 | -118.0877 | assuming NAD83 | K:\2012 Integrated Report\2012 Data - QA Verified\Sanitation Districts of LA County - Various R4 WBs | LACSD RW GPS Coordinates 1_10
tr20 | 4 | No data for this location | CAR4053100019980917153706 | OLD | WN-RAB |  | SGR |  |  | Los Angeles | 34.0224 | -118.0548 | assuming NAD83 | K:\2012 Integrated Report\2012 Data - QA Verified\Sanitation Districts of LA County - Various R4 WBs | LACSD RW GPS Coordinates 1_10
tr20 | 4 | No data for this location |  | NA | WN-RBB |  | Zone 1 Ditch |  | 3/17/2011 email from Shannon Grund: Their label for Zone 1 Ditch is correct as well as the location of the RB and RB‑B sites. No, we do not have data for this location. | Los Angeles | 34.0273 | -118.0586 | assuming NAD83 | K:\2012 Integrated Report\2012 Data - QA Verified\Sanitation Districts of LA County - Various R4 WBs | LACSD RW GPS Coordinates 1_10
tr20 | 4 | Rio Hondo Reach 2 (above Spreading Grounds) | CAR4053100020110601150056 |  | WN-RD |  | Rio Hondo |  | Additional data sent by email on 032211 THIS SITE IS LESS THAN 200 meters from WN-RDB Need to map - NJK Sent pic to Thom with question 032811--sent reminder 040611 060111: Now mapped based on direction from Thom Seibels email on 040711 | Los Angeles | 34.0315 | -118.0709 | assuming NAD83 | K:\2012 Integrated Report\2012 Data - QA Verified\Sanitation Districts of LA County - Various R4 WBs | LACSD RW GPS Coordinates 1_10
tr20 | 4 | Rio Hondo Reach 2 (above Spreading Grounds) | CAR4053100020110601150056 |  | WN-RDB |  | Rio Hondo |  | 3/17/2011 email from Shannon Grund: The WN RD‑B location as plotted on file R4_SanitDistrLACo_Zone1DitchQuestionRev.jpg and R4_SanitDistrLACo_ Zone1DitchzoomedoutQuestionRev.jpg is not correct. It should be near WN RD on Rio Hondo. Staff are going out to check the coordinates. Additional data sent on 032211 040611 email from Shannon with checked GPS points: WN RDB N 34° 01.952 W 118° 04.281 For WN RDB, due to the depth of the water the monitoring crew took the coordinates along the bank of the river, approximately 1m away from the actual sample site. THIS SITE IS LESS THAN 200 meters from WN-RD Got new lat long and this point falls on segment made for Thom for Rio Hondo mapping so now need to wait on his response. 060111 - Has been mapped based on direction from Thom Seibels email on 040711 | Los Angeles | 34.0325 | -118.0713 | assuming NAD83 | K:\2012 Integrated Report\2012 Data - QA Verified\Sanitation Districts of LA County - Various R4 WBs | LACSD RW GPS Coordinates 1_10
tr20 | 4 | Rio Hondo Reach 2 (above Spreading Grounds) | CAR4053100020110601150056 |  | WN-RD1 | SG-RD1 | Rio Hondo |  | Need to map - NJK Sent pic to Thom with question 032811-sent reminder 040611 060111--Now mapped based on direction from Thom Seibels email on 040711 | Los Angeles | 34.0407 | -118.0742 | assuming NAD83 | K:\2012 Integrated Report\2012 Data - QA Verified\Sanitation Districts of LA County - Various R4 WBs | LACSD RW GPS Coordinates 1_10
tr20 | 4 | San Gabriel River Estuary | CAR4051600020000229163853 | OLD | LB-R6 | SG-R6 | SGR Estuary |  |  | Los Angeles | 33.774 | -118.0973 | assuming NAD83 | K:\2012 Integrated Report\2012 Data - QA Verified\Sanitation Districts of LA County - Various R4 WBs | LACSD RW GPS Coordinates 1_10
tr20 | 4 | San Gabriel River Estuary | CAR4051600020000229163853 | OLD | LB-R7 | SG-R7 | SGR Estuary |  |  | Los Angeles | 33.7595 | -118.0977 | assuming NAD83 | K:\2012 Integrated Report\2012 Data - QA Verified\Sanitation Districts of LA County - Various R4 WBs | LACSD RW GPS Coordinates 1_10
tr20 | 4 | San Gabriel River Estuary | CAR4051600020000229163853 | OLD | LB-R8 | SG-R8 | SGR Estuary |  |  | Los Angeles | 33.7473 | -118.1137 | assuming NAD83 | K:\2012 Integrated Report\2012 Data - QA Verified\Sanitation Districts of LA County - Various R4 WBs | LACSD RW GPS Coordinates 1_10
tr20 | 4 | San Gabriel River Reach 1 (Estuary to Firestone) | CAR4051501019980917144356 | OLD | LB-RA2 | SG-RA2 | SGR Estuary |  |  | Los Angeles | 33.7871 | -118.0937 | assuming NAD83 | K:\2012 Integrated Report\2012 Data - QA Verified\Sanitation Districts of LA County - Various R4 WBs | LACSD RW GPS Coordinates 1_10
tr20 | 4 | San Gabriel River Reach 1 (Estuary to Firestone) | CAR4051501019980917144356 | OLD | LC-R4 | SG-R4 | SGR (Mainstem) |  |  | Los Angeles | 33.8731 | -118.1064 | assuming NAD83 | K:\2012 Integrated Report\2012 Data - QA Verified\Sanitation Districts of LA County - Various R4 WBs | LACSD RW GPS Coordinates 1_10
tr20 | 4 | San Gabriel River Reach 1 (Estuary to Firestone) | CAR4051501019980917144356 | OLD | LC-R9W | SG-R9W | SGR (Mainstem) |  | NJK SG R9W is across river from SG R9E and they could be less than 200 meters apart | Los Angeles | 33.791 | -118.0919 | assuming NAD83 | K:\2012 Integrated Report\2012 Data - QA Verified\Sanitation Districts of LA County - Various R4 WBs | LACSD RW GPS Coordinates 1_10
| 4 | San Gabriel River Reach 1 (Estuary to Firestone) | CAR4051501019980917144356 | OLD |  | SG R5 |  |  |  |  | 33.8026 | -118.0903
| 4 | San Gabriel River Reach 1 (Estuary to Firestone) | CAR4051501019980917144356 | OLD |  | SG R9E - east side of SGR from SG R9W |  |  | NJK: SG R9W is across river from SG R9E and they could be less than 200 meters apart |  | 33.791 | -118.0919
tr20 | 4 | San Gabriel River Reach 2 (Firestone to Whittier Narrows Dam | CAR4051501019980917150749 | OLD | LC-R31 | SG-R31 | SGR (Mainstem) |  |  | Los Angeles | 33.888 | -118.1085 | assuming NAD83 | K:\2012 Integrated Report\2012 Data - QA Verified\Sanitation Districts of LA County - Various R4 WBs | LACSD RW GPS Coordinates 1_10
tr20 | 4 | San Gabriel River Reach 2 (Firestone to Whittier Narrows Dam | CAR4051501019980917150749 | OLD | LC-R31B | SG-31B | SGR (Mainstem) |  |  | Los Angeles | 33.8796 | -118.1083 | assuming NAD83 | K:\2012 Integrated Report\2012 Data - QA Verified\Sanitation Districts of LA County - Various R4 WBs | LACSD RW GPS Coordinates 1_10
tr20 | 4 | San Gabriel River Reach 2 (Firestone to Whittier Narrows Dam | CAR4051501019980917150749 |  | SJC-R2 | SG-R2 | SGR |  |  | Los Angeles | 33.9301 | -118.1075 | assuming NAD83 | K:\2012 Integrated Report\2012 Data - QA Verified\Sanitation Districts of LA County - Various R4 WBs | LACSD RW GPS Coordinates 1_10
tr20 | 4 | San Gabriel River Reach 2 (Firestone to Whittier Narrows Dam | CAR4051501019980917150749 | OLD | SJC-R12 | SG-R12 | SGR |  |  | Los Angeles | 33.9939 | -118.0735 | assuming NAD83 | K:\2012 Integrated Report\2012 Data - QA Verified\Sanitation Districts of LA County - Various R4 WBs | LACSD RW GPS Coordinates 1_10
tr20 | 4 | San Gabriel River Reach 3 (Whittier Narrows to Ramona) | CAR4053100019980917153706 | OLD | SJC-R10 | SG-R10 | SGR |  |  | Los Angeles | 34.0395 | -118.0252 | assuming NAD83 | K:\2012 Integrated Report\2012 Data - QA Verified\Sanitation Districts of LA County - Various R4 WBs | LACSD RW GPS Coordinates 1_10
tr20 | 4 | San Gabriel River Reach 3 (Whittier Narrows to Ramona) | CAR4053100019980917153706 | OLD | SJC/WN-R11 | SG-R11 | SGR |  |  | Los Angeles | 34.0361 | -118.0315 | assuming NAD83 | K:\2012 Integrated Report\2012 Data - QA Verified\Sanitation Districts of LA County - Various R4 WBs | LACSD RW GPS Coordinates 1_10
tr20 | 4 | San Gabriel River Reach 3 (Whittier Narrows to Ramona) | CAR4053100019980917153706 | OLD | WN-RA | WN-RA | SGR |  | Additional data sent by email on 032211 | Los Angeles | 34.0214 | -118.0555 | assuming NAD83 | K:\2012 Integrated Report\2012 Data - QA Verified\Sanitation Districts of LA County - Various R4 WBs | LACSD RW GPS Coordinates 1_10
tr20 | 4 | San Jose Creek Reach 1 (SG Confluence to Temple St.) | CAR4053100019980918090950 | OLD | Pom-RD | POM-RD | SJC |  |  | Los Angeles | 34.0321 | -118.0032 | assuming NAD83 | K:\2012 Integrated Report\2012 Data - QA Verified\Sanitation Districts of LA County - Various R4 WBs | LACSD RW GPS Coordinates 1_10
tr20 | 4 | San Jose Creek Reach 1 (SG Confluence to Temple St.) | CAR4053100019980918090950 |  | SJC-C1 | SG-C1 | SJC |  | 3/17/2011 email from Shannon Grund: The C1 location on San Jose Creek as plotted on file R4_SanitDistrLACo_SanJoseCrkQuestionRev.jpg is not correct. It should be immediately to the left of the Workman Mill Rd overpass. Staff is going out to check the GPS coordinates. 040611 email from Shannon with checked GPS points: SJC C1 N 34° 02.021 W 118° 01.052 NJK:These have been added to this table and plotted. | Los Angeles | 34.0337 | -118.0175 | assuming NAD83 | K:\2012 Integrated Report\2012 Data - QA Verified\Sanitation Districts of LA County - Various R4 WBs | LACSD RW GPS Coordinates 1_10
tr20 | 4 | San Jose Creek Reach 1 (SG Confluence to Temple St.) | CAR4053100019980918090950 | OLD | SJC-C2 | SG-C2 | SJC |  |  | Los Angeles | 34.0357 | -118.0213 | assuming NAD83 | K:\2012 Integrated Report\2012 Data - QA Verified\Sanitation Districts of LA County - Various R4 WBs | LACSD RW GPS Coordinates 1_10
tr20 | 4 | San Jose Creek Reach 2 (Temple to I-10 at White Ave.) | CAR4055100019980918093038 | OLD | Pom-RC | POM-RC | SJC |  |  | Los Angeles | 34.0191 | -117.841 | assuming NAD83 | K:\2012 Integrated Report\2012 Data - QA Verified\Sanitation Districts of LA County - Various R4 WBs | LACSD RW GPS Coordinates 1_10
tr20 | 4 | Santa Clara River Reach 5 (Blue Cut gaging station to West Pier Hwy 99 Bridge) (was named Santa Clara River Reach 7 on 2002 303(d) list) | CAR4035100019990203102901 | OLD | VA-RC | SCR-RC | SCR |  | NJK:This station is very close to VA-R6…just at 200 meters or perhaps slightly less | Los Angeles | 34.4312 | -118.5941 | assuming NAD83 | K:\2012 Integrated Report\2012 Data - QA Verified\Sanitation Districts of LA County - Various R4 WBs | LACSD RW GPS Coordinates 1_10
tr20 | 4 | Santa Clara River Reach 5 (Blue Cut gaging station to West Pier Hwy 99 Bridge) (was named Santa Clara River Reach 7 on 2002 303(d) list) | CAR4035100019990203102901 | OLD | VA-RD | SCR-RD | SCR |  | NJK:This station is very close to VA-RC…just at 200 meters or perhaps slightly less | Los Angeles | 34.4328 | -118.5947 | assuming NAD83 | K:\2012 Integrated Report\2012 Data - QA Verified\Sanitation Districts of LA County - Various R4 WBs | LACSD RW GPS Coordinates 1_10
tr20 | 4 | Santa Clara River Reach 5 (Blue Cut gaging station to West Pier Hwy 99 Bridge) (was named Santa Clara River Reach 7 on 2002 303(d) list) | CAR4035100019990203102901 | OLD | VA-RE | SCR-RE | SCR |  |  | Los Angeles | 34.4186 | -118.6357 | assuming NAD83 | K:\2012 Integrated Report\2012 Data - QA Verified\Sanitation Districts of LA County - Various R4 WBs | LACSD RW GPS Coordinates 1_10
| 4 | Santa Clara River Reach 5 (Blue Cut gaging station to West Pier Hwy 99 Bridge) (was named Santa Clara River Reach 7 on 2002 303(d) list) | CAR4035100019990203102901 | OLD |  | SCR R8 |  |  |  |  | 34.4021 | -118.7009
| 4 | Santa Clara River Reach 5 (Blue Cut gaging station to West Pier Hwy 99 Bridge) (was named Santa Clara River Reach 7 on 2002 303(d) list) | CAR4035100019990203102901 | OLD |  | SCR RB01 |  |  |  |  | 34.4264 | -118.5868
tr20 | 4 | Santa Clara River Reach 6 (W Pier Hwy 99 to Bouquet Cyn Rd) (was named Santa Clara River Reach 8 on 2002 303(d) list) | CAR4035100019990204123459 | OLD | SA-RA | SCR-RA | SCR |  | MM: These two points seem close and do not fall exactly on Santa Clara River - sent LACSD a ? 3/17/2011 email from Shannon Grund: RA is correct This station is on the SCR on the East side of Bouquet Canyon Road - it is almost always dry. 040611 email from Shannon with checked GPS points: SA RA N 34° 25.465 W 118° 32.342 NJK 040611: THIS SITE IS A LITTLE OVER 200 meters from the site SA-RB on the other side of the river | Los Angeles | 34.4244 | -118.539 | assuming NAD83 | K:\2012 Integrated Report\2012 Data - QA Verified\Sanitation Districts of LA County - Various R4 WBs | LACSD RW GPS Coordinates 1_10
tr20 | 4 | Santa Clara River Reach 6 (W Pier Hwy 99 to Bouquet Cyn Rd) (was named Santa Clara River Reach 8 on 2002 303(d) list) | CAR4035100019990204123459 | OLD | SA-RB | SCR-RB | SCR |  | MM: These two points seem close and do not fall exactly on Santa Clara River - sent LACSD a ? 3/17/2011 email from Shannon Grund: The RB location on Santa Clara River as plotted on file R4_SanitDistrLACo_santaClaraQuestionRev.jpg is not correct. RA is correct and RB should be on the left (west) side of Bouquet Canyon Road overpass. 040511 email from Shannon with checked GPS points: SA RB N 34° 25.422 W 118° 32.462 NJK 040611: This site is now plotted correctly on the west side of the road. THIS SITE IS A LITTLE OVER 200 meters from the site SA-RA on the other side of the river | Los Angeles | 34.4237 | -118.541 | assuming NAD83 | K:\2012 Integrated Report\2012 Data - QA Verified\Sanitation Districts of LA County - Various R4 WBs | LACSD RW GPS Coordinates 1_10
| 4 | Santa Clara River Reach 6 (W Pier Hwy 99 to Bouquet Cyn Rd) (was named Santa Clara River Reach 8 on 2002 303(d) list) | CAR4035100019990204123459 | OLD |  | SCR R14 |  |  |  |  | 34.4283 | -118.5394
Additional Sites | 4 | Santa Clara River Reach 11 (Piru Creek, from confluence with Santa Clara River Reach 4 to gaging station below Santa Felicia Dam) | CAR4034100020050918185447 | OLD |  | SCR R11 |  |  |  |  | 34.4029 | -118.7867
| 4 | Santa Clara River Reach 4 (A Street to Blue Cut Gaging Station) | CAR4033100020110406152548 | NEW |  | SCR RF |  |  |  |  | 34.4087 | -118.7231
tr20 | 4 | South San Jose Creek (Los Angeles County) | CAR4055100020110328104701 | NEW | Pom-RA | POM-RA | SJC |  | Did not need to send to Thom S in R4 | Los Angeles | 34.0552 | -117.7956 | assuming NAD83 | K:\2012 Integrated Report\2012 Data - QA Verified\Sanitation Districts of LA County - Various R4 WBs | LACSD RW GPS Coordinates 1_10
tr20 | 4 | Trib to Zone 1 Ditch (at an outfall). Probably not using this data, if they sent any at all.. |  | NA | WN-RC |  | Zone 1 Ditch |  | 3/17/2011 email from Shannon Grund: As for Location RC, it is a location below an outfall that ultimately flows to Zone 1 Ditch. However, this out fall is not in use and has not been used for many, many years. NJK: may not have data for this | Los Angeles | 34.0291 | -118.0613 | assuming NAD83 | K:\2012 Integrated Report\2012 Data - QA Verified\Sanitation Districts of LA County - Various R4 WBs | LACSD RW GPS Coordinates 1_10
tr20 | 4 | Zone Ditch 1 (LA River Watershed) | CAR4053100020110406151505 | NEW | WN-RB also Z1D_WN-RB |  | Zone 1 Ditch |  | 3/17/2011 email from Shannon Grund: Their label for Zone 1 Ditch is correct as well as the location of the RB and RB‑B sites. Additional data sent on 032211 | Los Angeles | 34.0273 | -118.0584 | assuming NAD83 | K:\2012 Integrated Report\2012 Data - QA Verified\Sanitation Districts of LA County - Various R4 WBs | LACSD RW GPS Coordinates 1_10

## Orig Sampling Locations
REF # | Region | NJK MAPPED WBNAME (Assessors copy this into LOE) | WBID (Assessors copy this into LOE) | Old or New Water Body | Site name | Sample Location | Site Description | NJK - NOTES and QUESTIONS (ones in Pink need Help from Submitter) | County | GPS Coordinates | Lat_D | Lat_M | Lat_S | Lat | Long_D | Long_M | Long_S | Long-1 | Long | DATUM | Submitter folder | Report Name containing lat longs
tr |  |  |  |  | LB-RA1 | Coyote Creek |  |  | Los Angeles | N 33° 48' 11.0" W 118° 05' 3.4" | 33 | 48 | 11.0 | 33.8031 | 118 | 05 | 3.4 | 118.0843 | -118.0843
[5 empty] | LB-RA | Coyote Creek |  |  | Los Angeles | N 33° 47' 48.6" W 118° 05' 19.8" | 33 | 47 | 48.6 | 33.7968 | 118 | 05 | 19.8 | 118.0888 | -118.0888
[5 empty] | LB-RA1B | Coyote Creek |  |  | Los Angeles | N 33º 47' 53.6” W 118º 05' 15.6" | 33 | 47 | 53.6 | 33.7982 | 118 | 05 | 15.6 | 118.0877 | -118.0877
[5 empty] | LB-RA2 | SGR Estuary |  |  | Los Angeles | N 33° 47' 13.5" W 118° 05' 37.2" | 33 | 47 | 13.5 | 33.7871 | 118 | 05 | 37.2 | 118.0937 | -118.0937
[5 empty] | LB-R6 | SGR Estuary |  |  | Los Angeles | N 33° 46' 26.3" W 118° 05' 50.1" | 33 | 46 | 26.3 | 33.774 | 118 | 05 | 50.1 | 118.0973 | -118.0973
[5 empty] | LB-R7 | SGR Estuary |  |  | Los Angeles | N 33° 45' 34.1" W 118° 05' 51.8" | 33 | 45 | 34.1 | 33.7595 | 118 | 05 | 51.8 | 118.0977 | -118.0977
[5 empty] | LB-R8 | SGR Estuary |  |  | Los Angeles | N 33° 44’ 50.3" W 118° 06’ 49.3" | 33 | 44 | 50.3 | 33.7473 | 118 | 06 | 49.3 | 118.1137 | -118.1137
[5 empty] | LC-R31 | SGR (Mainstem) |  |  | Los Angeles | N 33° 53' 16.9” W 118° 06' 30.6" | 33 | 53 | 16.9 | 33.888 | 118 | 06 | 30.6 | 118.1085 | -118.1085
[5 empty] | LC-R4 | SGR (Mainstem) |  |  | Los Angeles | N 33° 52' 23.0" W 118° 06' 23” | 33 | 52 | 23.0 | 33.8731 | 118 | 06 | 23 | 118.1064 | -118.1064
[5 empty] | LC-R31B | SGR (Mainstem) |  |  | Los Angeles | N 33º 52' 46.6” W 118º 06' 30.0" | 33 | 52 | 46.6 | 33.8796 | 118 | 06 | 30.0 | 118.1083 | -118.1083
[5 empty] | LC-R9W | SGR (Mainstem) |  |  | Los Angeles | N 33° 47' 27.6" W 118° 05' 30.8" | 33 | 47 | 27.6 | 33.791 | 118 | 05 | 30.8 | 118.0919 | -118.0919
[5 empty] | Pom-RA | SJC |  |  | Los Angeles | N 34° 3’ 18.8’’ W 117° 47’ 44.1’’ | 34 | 3 | 18.8 | 34.0552 | 117 | 47 | 44.1 | 117.7956 | -117.7956
[5 empty] | Pom-RC | SJC |  |  | Los Angeles | N 34° 01' 8.6" W 117° 50' 27.7" | 34 | 01 | 8.6 | 34.0191 | 117 | 50 | 27.7 | 117.841 | -117.841
[5 empty] | Pom-RD | SJC |  |  | Los Angeles | N 34° 01’ 55.5 W 118° 00’ 11.6” | 34 | 01 | 55.5 | 34.0321 | 118 | 00 | 11.6 | 118.0032 | -118.0032
OLD |  |  |  |  | SJC-C1 | SJC |  |  | Los Angeles | N 34° 02' 13.8" W 118° 01' 03.5" | 34 | 02 | 13.8 | 34.0372 | 118 | 01 | 03.5 | 118.0176 | -118.0176
[5 empty] | SJC-C2 | SJC |  |  | Los Angeles | N 34° 02' 08.5" W 118° 01' 16.7" | 34 | 02 | 08.5 | 34.0357 | 118 | 01 | 16.7 | 118.0213 | -118.0213
[5 empty] | SJC-R10 | SGR |  |  | Los Angeles | N 34 2.0' 22.3" W 118 01' 30.7" | 34 | 2.0 | 22.3 | 34.0395 | 118 | 01 | 30.7 | 118.0252 | -118.0252
[5 empty] | SJC-R2 | SGR |  |  | Los Angeles | N 33° 55' 48.5" W 118° 06' 27.1" | 33 | 55 | 48.5 | 33.9301 | 118 | 06 | 27.1 | 118.1075 | -118.1075
[5 empty] | SJC/WN-R11 | SGR |  |  | Los Angeles | N 34° 02' 09.9" W 118° 01' 53.4" | 34 | 02 | 09.9 | 34.0361 | 118 | 01 | 53.4 | 118.0315 | -118.0315
[5 empty] | SJC-R12 | SGR |  |  | Los Angeles | N 33° 59’ 38.2” W 118° 04’ 24.6” | 33 | 59 | 38.2 | 33.9939 | 118 | 04 | 24.6 | 118.0735 | -118.0735
[5 empty] | WN-RA | SGR |  |  | Los Angeles | N 34° 01' 17.1" W 118° 03' 19.8" | 34 | 01 | 17.1 | 34.0214 | 118 | 03 | 19.8 | 118.0555 | -118.0555
[5 empty] | WN-RAB | SGR |  |  | Los Angeles | N 34° 01' 20.5" W 118° 03' 17.4" | 34 | 01 | 20.5 | 34.0224 | 118 | 03 | 17.4 | 118.0548 | -118.0548
[5 empty] | WN-RB | Zone 1 Ditch |  |  | Los Angeles | N 34° 01' 38.3" W 118° 03' 30.4" | 34 | 01 | 38.3 | 34.0273 | 118 | 03 | 30.4 | 118.0584 | -118.0584
[5 empty] | WN-RBB | Zone 1 Ditch |  |  | Los Angeles | N 34° 01' 38.1" W 118° 03' 31.1" | 34 | 01 | 38.1 | 34.0273 | 118 | 03 | 31.1 | 118.0586 | -118.0586
[5 empty] | WN-RC | Zone 1 Ditch |  |  | Los Angeles | N 34° 01' 44.8” W 118° 03' 40.8” | 34 | 01 | 44.8 | 34.0291 | 118 | 03 | 40.8 | 118.0613 | -118.0613
[5 empty] | WN-RD | Rio Hondo |  |  | Los Angeles | N 34° 01' 53.3” W 118° 04' 15.3” | 34 | 01 | 53.3 | 34.0315 | 118 | 04 | 15.3 | 118.0709 | -118.0709
OLD |  |  |  |  | WN-RDB | Rio Hondo |  |  | Los Angeles | N 34° 01' 38.0" W 118° 03' 30.8" | 34 | 01 | 38.0 | 34.0272 | 118 | 03 | 30.8 | 118.0586 | -118.0586
[5 empty] | WN-RD1 | Rio Hondo |  |  | Los Angeles | N 34° 02' 26.5" W 118° 04' 27” | 34 | 02 | 26.5 | 34.0407 | 118 | 04 | 27 | 118.0742 | -118.0742
OLD |  |  |  |  | SA-RA | SCR |  |  | Los Angeles | N 34° 25' 26.5" W 118° 32' 22.4" | 34 | 25 | 26.5 | 34.424 | 118 | 32 | 22.4 | 118.5396 | -118.5396
OLD |  |  |  |  | SA-RB | SCR |  |  | Los Angeles | N 34° 25' 23.8" W 118° 32' 22.6" | 34 | 25 | 23.8 | 34.4233 | 118 | 32 | 22.6 | 118.5396 | -118.5396
[5 empty] | VA-RC | SCR |  |  | Los Angeles | N 34° 25' 52.5" W 118° 35' 38.7" | 34 | 25 | 52.5 | 34.4312 | 118 | 35 | 38.7 | 118.5941 | -118.5941
[5 empty] | VA-RD | SCR |  |  | Los Angeles | N 34° 25' 58.1" W 118° 35' 40.8" | 34 | 25 | 58.1 | 34.4328 | 118 | 35 | 40.8 | 118.5947 | -118.5947
[5 empty] | VA-RE | SCR |  |  | Los Angeles | N 34º 25' 06.8" W 118º 38' 8.5” | 34 | 25 | 06.8 | 34.4186 | 118 | 38 | 8.5 | 118.6357 | -118.6357
Stations Initially Lacking Lat Longs
[6 empty] | SCR R11 |  |  |  | N34 24' 10.5912" W118 47' 12.2603" | 34 | 24 | 10.5912 | 34.4029 | 118 | 47 | 12.2603 | 118.7867 | -118.7867
[6 empty] | SCR R12 |  |  |  | N34 25' 36.1920" W118 37' 42.6936" | 34 | 25 | 36.1920 | 34.4267 | 118 | 37 | 42.6936 | 118.6285 | -118.6285
[6 empty] | SCR R14 |  |  |  | N34 25’ 42” W118 32’ 22” | 34 | 25 | 42 | 34.4283 | 118 | 32 | 22 | 118.5394 | -118.5394
[6 empty] | SCR R8 |  |  |  | N34 24' 7.4160" W118 42' 3.3120" | 34 | 24 | 7.4160 | 34.4021 | 118 | 42 | 3.3120 | 118.7009 | -118.7009
[6 empty] | SCR RB01 |  |  |  | N34 25' 35.0544" W118 35' 12.3613" | 34 | 25 | 35.0544 | 34.4264 | 118 | 35 | 12.3613 | 118.5868 | -118.5868
[6 empty] | SCR RF |  |  |  | N34 24' 31.5" W118 43' 23.1" | 34 | 24 | 31.5 | 34.4087 | 118 | 43 | 23.1 | 118.7231 | -118.7231
[6 empty] | POM MISC |  |  |  | Data Experimental - do not use
[6 empty] | SG MISC |  |  |  | Data Experimental - do not use
[6 empty] | SG R5 |  |  |  | N33.80265 W118.09031 |  |  |  | 33.8026 |  |  |  |  | -118.0903
[6 empty] | SG R9E - east side of SGR from SG R9W |  |  |  | N 33° 47' 27.6" W 118° 05' 30.8" | 33 | 47 | 27.6 | 33.791 | 118 | 5 | 30.8 | 118.0919 | -118.0919
Corrected - New Lat Longs See "Corrected Lat Longs" tab
[5 empty] | SA-RA |  |  |  |  | N 34° 25.422 W 118° 32.462
[5 empty] | SA‑RB |  |  |  |  | N 34° 25.422 W 118° 32.462
[5 empty] | WN‑RDB |  |  |  | For WN‑RDB, due to the depth of the water the monitoring crew took the coordinates along the bank of the river, approximately 1m away from the actual sample site. | N 34° 01.952 W 118° 04.281
[5 empty] | SJC‑C1 |  |  |  |  | N 34° 02.021 W 118° 01.052

## Corrected LatLongs
REF # | Region | NJK MAPPED WBNAME (Assessors copy this into LOE) | WBID (Assessors copy this into LOE) | Old or New Water Body | Site name | Sample Location | NJK - NOTES and QUESTIONS (ones in Pink need Help from Submitter) | County | Lat | Long | [6 empty] | DATUM | Submitter | Report Name
[5 empty] | SA-RA |  |  |  | 34° 25.465 | 118° 32.342 | 34 | 25.465 | 34.4244 | 118 | 32.342 | -118.539
[5 empty] | SA‑RB |  |  |  | 34° 25.422 | 118° 32.462 | 34 | 25.422 | 34.4237 | 118 | 32.462 | -118.541
[5 empty] | WN‑RDB | For WN‑RDB, due to the depth of the water the monitoring crew took the coordinates along the bank of the river, approximately 1m away from the actual sample site. |  |  | 34° 01.952 | 118° 04.281 | 34 | 01.952 | 34.0325 | 118 | 04.281 | -118.0713
[5 empty] | SJC‑C1 |  |  |  | 34° 02.021 | 118° 01.052 | 34 | 02.021 | 34.0337 | 118 | 01.052 | -118.0175