## FieldData, B, Se, TSS, TOC, Bac
Site Code | Date | Time | Temp (C) | Temp (F) | Field EC (umhos) | Lab EC (umhos) | pH | Dissolved Oxygen (mg/L) | Boron (mg/L) | Se (ug/L) | TSS (mg/L) | Turbidity (ntu) | TOC (mg/L) | Total Coli MPN | E. Coli MPN
Water Year 2001
MAD007 | 2000-10-26 | 8:50 | 13.1 |  | 510 | NA | 7.4 |  | 0.2 |  | 18 |  | 2.4
MAD007 | 2000-11-30 | 6:35 | 9.3 |  | 663 | 668 | 6.8 |  | 0.3 |  | 57 |  | 2.2
MAD007 | 2000-12-28 | 8:00 | 5.6 |  | 616 | 621 | 8 |  | 0.2 |  | NA |  | 1.8
MAD007 | 2001-01-25 | 8:50 | 7.5 |  | 760 | 762 | 7.2 |  | 0.3 |  | 40 |  | 3.8
MAD007 | 2001-02-07 | 8:52 | 8.3 |  | 726 | 726 | 8.8
MAD007 | 2001-02-22 | 8:15 | 10.3 |  | 697 | 692 | 8.1 |  | 0.4 |  | 32 |  | 2.9
MAD007 | 2001-03-13 | 9:36 | 16.7 |  | 568 | 550 | 6.9
MAD007 | 2001-03-29 | 8:30 | 18.2 |  | 913 | 919 | 8 |  | 0.6 |  | NA |  | <1
MAD007 | 2001-04-18 | 9:30 | 17.5 |  | 602 | 602 | 7.5
MAD007 | 2001-04-26 | 13:30 | 26.3 |  | 679 | 689 | 7.2 |  | 0.4 |  |  |  | 4
MAD007 | 2001-05-15 | 9:40 | 19.1 |  | 509 | 517 | 6.6
MAD007 | 2001-05-31 | 11:30 | 26.6 |  | 530 | 532 | 7.9 |  | 0.2 |  | 26 |  | 4
MAD007 | 2001-06-28 | 9:52 | 22.1 |  | 465 |  | 7.6 | 6.8 | 0.2 | 0.7 | 33 |  | 5.5
MAD007 | 2001-07-26 | 10:30 | 25.7 |  | 380 | 383 | 7.6 | NA |  |  |  |  | 3
MAD007 | 2001-08-14 | 9:29 | 23.9 |  | 514 |  | 7.9 | 7.5
MAD007 | 2001-08-30 | 10:50 | 23.2 |  | 641 |  | 8.3 | NA | 0.2 |  | 32 |  | 6.5
MAD007 | 2001-09-27 | 9:28 | 20.9 |  | 713 |  | 7.9 | 7.7 | 0.2 |  | 50
Water Year 2002
MAD007 | 2001-10-25 | 9:21 | 15.6 |  | 661 |  | 8.5 | 9.7 | 0.2 | 0.5 |  |  | 9.5
MAD007 | 2001-11-29 | 11:24 | 10.3 |  | 1010 |  | 8 | 10.9 | 0.3 |  |  |  | <1
MAD007 | 2001-12-27 | 10:55 | 8.8 |  | 748 |  | 7.9 | 11.4 | 0.3
MAD007 | 2002-01-31 | 9:25 | 5.5 |  | 651 |  | 7.6 | 12.9 | 0.3 |  |  |  | 3.5
MAD007 | 2002-02-28 | 9:14 | 14.3 |  | 745 |  | 7.8 | 9.1 | 0.4
MAD007 | 2002-03-28 | 9:42 | 16.4 |  | 691 |  | 8.1 | 11.7 | 0.3 |  |  |  | NA
MAD007 | 2002-04-24 | 9:13 | 18.3 |  | 477 |  | 8.4 | 8.6 | 0.2 |  |  |  | 7.8
MAD007 | 2002-05-30 | 10:13 | 23.1 |  | 520 |  | 7.9 | 4.9 | 0.2 |  |  |  | 2.9
MAD007 | 2002-06-20 | 9:05 | 22.6 |  | 462 |  | 7.2 | 7.9 | 0.2 |  |  | NA | 2.9
MAD007 | 2002-07-30 | 9:20 | 24.2 |  | 466 |  | 7.6 | 6.6 |  |  |  | 71.1 |  | >2419.6 | 19
MAD007 | 2002-08-29 | 9:00 | 22.8 |  | 558 |  | 7.7 | 7.7 | 0.2 | <0.400 |  | NA
MAD007 | 2002-09-26 | 9:28 | 21.3 |  | 650 |  | 7.8 | 7.6 | 0.2 |  |  |  | 2.7
Water Year 2003
MAD007 | 2002-10-17 | 9:59 | 16.6 |  | 615 |  | 7.8 | 8.3 |  |  |  | 51.9 |  | >2419.6 | 29
MAD007 | 2002-10-31 | 9:55 | 13.8 |  | 624 |  | 7.6 | 10.7 | 0.2 | 0.5 |  | NA | NA
MAD007 | 2002-11-21 | 9:40 | 12.2 |  | 609 |  | 7.9 | 10.3 | 0.3 |  |  | 12.6 | 2.1
MAD007 | 2002-12-19 | 9:08 | 8.1 |  | 642 |  | 7.3 | 10.4 | 0.2 | <0.400 |  | 7.3 | 2.6
MAD007 | 2003-01-14 | 9:07 | 11.4 |  | 701 |  | 7.9 | 9.5 |  |  |  | 30 |  | 816 | 40
MAD007 | 2003-01-30 | 9:45 | 13 |  | 600 |  | 7 | 10.8 |  |  |  | 31.1
MAD007 | 2003-03-27 | 11:12 | 15.8 |  | 682 |  | 8.1 | 13.9 | 0.4 |  |  | 25.6 | 2.3
MAD007 | 2003-04-24 | 10:10 | 17.3 |  | 449 |  | 7.6 | 8.1 | 0.2 |  |  | 85.9 | NA | 1986 | 59
MAD007 | 2003-05-29 | 9:05 | 24.5 |  | 583 |  | 7.4 | 7.1 | 0.3 |  |  | 112 | 4.7
MAD007 | 2003-06-26 | 8:50 | 24 |  | 272 |  | 7.8 | 8.7 | 0.1 |  |  | 55.6 | 2.9
MAD007 | 2003-07-31 | 9:40 | 26.3 |  | 337 |  | 7.6 | 6.4 |  |  |  | 73.2 |  | >2419.6 | 20
MAD007 | 2003-08-28 | 9:32 | 23.4 |  | 505 |  | 7.7 | 7.4 |  |  |  | 56.7 |  | >2419.6 | 23
MAD007 | 2003-09-25 | 9:27 | 20.9 |  | 391 |  | 7.6 | 7.8 |  |  |  | 111 |  | >2419.6 | 29
Water Year 2004
MAD007 | 2003-10-30 | 9:47 | 16.2 |  | 530 |  | 8 | 7.6 |  |  |  | 18.1 |  | >2419.6 | 38
MAD007 | 2003-11-20 | 9:51 | 12.7 |  | 540 |  | 7.9 | 9.9 |  |  |  | 16.9 |  | 1986 | 30
MAD007 | 2004-01-29 | 9:42 | 9 |  | 446 |  | 8 | 13.6 |  |  |  | 62.9 |  | 727 | 24
MAD007 | 2004-02-26 | 9:25 | 11.9 |  | 678 |  | 7.9 | 8.9 |  |  |  | NA |  | 770 | 138
MAD007 | 2004-03-24 | 9:53 | 17.1 |  | 384 |  | 7.8 | 9 |  |  |  | NA |  | >2419.6 | 50
MAD007 | 2004-04-29 | 9:02 | 16.8 |  | 528 |  | 8.3 | 8.6 |  |  |  | 24.5 |  | >2419.6 | 248
MAD007 | 2004-05-27 | 9:29 | 20.1 |  | 479 |  | 7.6 | 8 |  |  |  | 49.4 |  | >2419.6 | 91
MAD007 | 2004-06-24 | 9:25 | 22.7 |  | 544 |  | 7.8 | 5.4 |  |  |  | NA |  | >2419.6 | 31
MAD007 | 2004-07-29 | 9:04 | 25.1 |  | 380 |  | 8.2 | 7.8 | 0.2 | 0.7 |  | NA |  | >2419.6 | 73
MAD007 | 2004-08-26 | 9:08 | 22.6 |  | 443 |  | 7.8 | 0.6 |  |  |  | NA |  | >2419.6 | 101
MAD007 | 2004-09-30 | 8:46 | 0.8 |  | 506 |  | 8.6 | 7.7 |  |  |  | NA |  | >2419.6 | 36
Water Year 2005
MAD007 | 2004-10-28 | 8:55 | 12.5 |  | 561 |  | 8.4 | 9.3 |  |  |  |  | 3.4 | >2419.6 | 61
MAD007 | 2004-11-23 | 9:02 | 9.6 |  | 559 |  | 7.8 | 11.8 | 0.3 | 0.9 |  |  | 4 | 1203 | 44
MAD007 | 2004-12-29 | 8:41 | 9.3 |  | 581 |  | 7.8 | 10.9 | 0.3 | 0.6 |  |  | 4.4 | 1986 | 47
MAD007 | 2005-01-27 | 8:50 | 11.1 |  | 479 |  | 8.1 | 11.6 | 0.3 | 1.4 |  |  | 11 | 2420 | 39
MAD007 | 2005-02-24 | 9:41 | 14 |  | 888 |  | 7.9 | 9.7 | 0.6 | 5.3 |  |  | 6.4 | 1986 | 63
MAD007 | 2005-03-29 | 10:00 | 14.4 |  | 725 |  | 8.0 | 9.8 | 0.4 | P |  |  | 5.3 | 1120 | 26
MAD007 | 2005-04-28 | 9:01 | 16.8 |  | 223 |  | 8.1 | 8.4 | 0.09 | 0.6 |  |  | 4.8 | >2419.6 | 44
MAD007 | 2005-05-26 | 8:52 | 20.2 |  | 85 |  | 7.7 | 8.1 | 0.07 | 0.5 |  |  | 4.6 | >2419.6 | 105
MAD007 | 2005-06-30 | 9:00 | 23.3 |  | 109 |  | 7.9 | 7.7 | 0.07 | 0.5 |  |  | NA | 1011 | 46
MAD007 | 2005-07-28 | 9:03 | 26.4 |  | 348 |  | 7.9 | 7.0 | 0.2 | 0.8 |  |  | NA | >2419.6 | 32
MAD007 | 2005-08-25 | 9:07 | 23.9 |  | 404 |  | 8.0 | 8.0 | 0.2 | 0.8 |  |  | 2.4 | >2419.6 | 41
MAD007 | 2005-09-29 | 9:19 | 20.6 |  | 402 |  | 6.2 | 7.4 | 0.2 | 0.5 |  |  | 2.5 | >2419.6 | 64
Water Year 2006
MAD007 | 2005-10-27 | 9:05 | 16.5 |  | 466 |  | 7.9 | 8.6 | 0.2 | 0.4 |  |  | 1.9 | 2420 | 68
MAD007 | 2005-11-29 | 8:53 | 10.9 |  | 498 |  | 7.8 | 10.4 | 0.2 | 0.5 |  |  | 3.0 | >2419.6 | 128

## DO
Site Code | Date | Time | Temp (C) | Temp (F) | Dissolved Oxygen (mg/L)
MAD007 | 2004-08-26 | 9:08 | 22.6 |  | 0.6
MAD007 | 2002-05-30 | 10:13 | 23.1 |  | 4.9
MAD007 | 2004-06-24 | 9:25 | 22.7 |  | 5.4
MAD007 | 2003-07-31 | 9:40 | 26.3 |  | 6.4
MAD007 | 2002-07-30 | 9:20 | 24.2 |  | 6.6
MAD007 | 2001-06-28 | 9:52 | 22.1 |  | 6.8
MAD007 | 2005-07-28 | 9:03 | 26.4 |  | 7.0
MAD007 | 2003-05-29 | 9:05 | 24.5 |  | 7.1
MAD007 | 2003-08-28 | 9:32 | 23.4 |  | 7.4
MAD007 | 2005-09-29 | 9:19 | 20.6 |  | 7.4
MAD007 | 2001-08-14 | 9:29 | 23.9 |  | 7.5
MAD007 | 2002-09-26 | 9:28 | 21.3 |  | 7.6
MAD007 | 2003-10-30 | 9:47 | 16.2 |  | 7.6
MAD007 | 2001-09-27 | 9:28 | 20.9 |  | 7.7
MAD007 | 2002-08-29 | 9:00 | 22.8 |  | 7.7
MAD007 | 2004-09-30 | 8:46 | 0.8 |  | 7.7
MAD007 | 2005-06-30 | 9:00 | 23.3 |  | 7.7
MAD007 | 2003-09-25 | 9:27 | 20.9 |  | 7.8
MAD007 | 2004-07-29 | 9:04 | 25.1 |  | 7.8
MAD007 | 2002-06-20 | 9:05 | 22.6 |  | 7.9
MAD007 | 2004-05-27 | 9:29 | 20.1 |  | 8
MAD007 | 2005-08-25 | 9:07 | 23.9 |  | 8.0
MAD007 | 2003-04-24 | 10:10 | 17.3 |  | 8.1
MAD007 | 2005-05-26 | 8:52 | 20.2 |  | 8.1
MAD007 | 2002-10-17 | 9:59 | 16.6 |  | 8.3
MAD007 | 2005-04-28 | 9:01 | 16.8 |  | 8.4
MAD007 | 2002-04-24 | 9:13 | 18.3 |  | 8.6
MAD007 | 2004-04-29 | 9:02 | 16.8 |  | 8.6
MAD007 | 2005-10-27 | 9:05 | 16.5 |  | 8.6
MAD007 | 2003-06-26 | 8:50 | 24 |  | 8.7
MAD007 | 2004-02-26 | 9:25 | 11.9 |  | 8.9
MAD007 | 2004-03-24 | 9:53 | 17.1 |  | 9
MAD007 | 2002-02-28 | 9:14 | 14.3 |  | 9.1
MAD007 | 2004-10-28 | 8:55 | 12.5 |  | 9.3
MAD007 | 2003-01-14 | 9:07 | 11.4 |  | 9.5
MAD007 | 2001-10-25 | 9:21 | 15.6 |  | 9.7
MAD007 | 2005-02-24 | 9:41 | 14 |  | 9.7
MAD007 | 2005-03-29 | 10:00 | 14.4 |  | 9.8
MAD007 | 2003-11-20 | 9:51 | 12.7 |  | 9.9
MAD007 | 2002-11-21 | 9:40 | 12.2 |  | 10.3
MAD007 | 2002-12-19 | 9:08 | 8.1 |  | 10.4
MAD007 | 2005-11-29 | 8:53 | 10.9 |  | 10.4
MAD007 | 2002-10-31 | 9:55 | 13.8 |  | 10.7
MAD007 | 2003-01-30 | 9:45 | 13 |  | 10.8
MAD007 | 2001-11-29 | 11:24 | 10.3 |  | 10.9
MAD007 | 2004-12-29 | 8:41 | 9.3 |  | 10.9
MAD007 | 2001-12-27 | 10:55 | 8.8 |  | 11.4
MAD007 | 2005-01-27 | 8:50 | 11.1 |  | 11.6
MAD007 | 2002-03-28 | 9:42 | 16.4 |  | 11.7
MAD007 | 2004-11-23 | 9:02 | 9.6 |  | 11.8
MAD007 | 2002-01-31 | 9:25 | 5.5 |  | 12.9
MAD007 | 2004-01-29 | 9:42 | 9 |  | 13.6
MAD007 | 2003-03-27 | 11:12 | 15.8 |  | 13.9
MAD007 | 2001-07-26 | 10:30 | 25.7 |  | NA
MAD007 | 2001-08-30 | 10:50 | 23.2 |  | NA
MAD007 | 2000-10-26 | 8:50 | 13.1
MAD007 | 2000-11-30 | 6:35 | 9.3
MAD007 | 2000-12-28 | 8:00 | 5.6
MAD007 | 2001-01-25 | 8:50 | 7.5
MAD007 | 2001-02-07 | 8:52 | 8.3
MAD007 | 2001-02-22 | 8:15 | 10.3
MAD007 | 2001-03-13 | 9:36 | 16.7
MAD007 | 2001-03-29 | 8:30 | 18.2
MAD007 | 2001-04-18 | 9:30 | 17.5
MAD007 | 2001-04-26 | 13:30 | 26.3
MAD007 | 2001-05-15 | 9:40 | 19.1
MAD007 | 2001-05-31 | 11:30 | 26.6

## Minerals
Site Code | Date | Chloride (mg/L) | Sulfate (mg/L) | Hardness (mg/L) | Calcium (mg/L) | Magnesium (mg/L) | TDS (mg/L) | Carbonate (mg/L) | Bicarbonate (mg/L) | Total Alkalinity (mg/L) | Sodium (mg/L)
Water Year 2001
MAD007 | 2000-10-26 | 72 | 46 | 110 | 22 | 12 | 280 | <1 | 104 | 90 | 55
MAD007 | 2000-11-30 | 90 | 68 | 140 | 29 | 17 | 380 | <1 | 100 | 90 | 75
MAD007 | 2000-12-28 | 94 | 61 | 130 | 26 | 16 | 340 | <1 | 110 | 90 | 69
MAD007 | 2001-01-25 | 110 | 86 | 160 | 31 | 19 | 430 | <1 | 110 | 90 | 88
MAD007 | 2001-02-22 | 77 | 92 | 160 | 34 | 18 | 430 | <1 | 120 | 94 | 77
MAD007 | 2001-03-29 | 100 | 130 | 210 | 45 | 23 | 580 | <1 | 140 | 120 | 100
MAD007 | 2001-04-26 | 73 | 120 | 170 | 37 | 18 | 430 | <1 | 94 | 94 | 71
MAD007 | 2001-05-31 | 72 | 55 | 120 | 24 | 14 | 300 | <1 | 78 | 78 | 57
MAD007 | 2001-06-28 | 61 | 47 | 110 | 23 | 13 | 260 | <1.0 | 100 | 83 | 50
MAD007 | 2001-08-30 | 100 | 46 | 120 | 22 | 15 | 340 | <1 | 110 | 87 | 73
MAD007 | 2001-09-27 | 120 | 48 | 130 | 23 | 18 | 380 | <1 | 110 | 90 | 89
Water Year 2002
MAD007 | 2001-10-25 | 110 | 44 | 120 | 22 | 16 | NA | <1 | 100 | 86 | 80
MAD007 | 2001-11-29 | 150 | 97 | 100 | 22 | 12 | 600 | <1 | 170 | 140 | 170
MAD007 | 2001-12-27 | 110 | 72 | 150 | 29 | 18 | 400 | <1 | 120 | 98 | 84
MAD007 | 2002-01-31 | 74 | 87 | 150 | 32 | 17 | NA | <1 | NA | NA | 66
MAD007 | 2002-02-28 | 94 | 110 | 190 | 40 | 21 | 450 | <1 | 130 | 110 | 88
MAD007 | 2002-03-28 | 88 | 96 | 160 | 35 | 19 | NA | <1.0 | 120 | 98 | 75
MAD007 | 2002-04-24 | 64 | 51 | 120 | 25 | 14 | NA | <1.0 | 100 | 82 | 50
MAD007 | 2002-05-30 | 37 | 27 | 120 | 24 | 15 | 270 | <1.0 | 98 | 80 | 58
MAD007 | 2002-06-20 | 59 | 50 | 110 | 23 | 13 | NA | <1.0 | 98 | 80 | 49
MAD007 | 2002-09-26 | 120 | 39 | 130 | 23 | 17 | NA | <1.0 | 100 | 84 | 82
Water Year 2003
MAD007 | 2002-10-31 | 100 | 49 | 130 | 25 | 16 | 340 | <1.0 | 110 | 89 | 75
MAD007 | 2002-11-21 | 100 | 41 | 130 | 25 | 16 | 340 | <1.0 | 100 | 82 | 70
MAD007 | 2003-03-27 |  |  | 150 | 33 | 17
MAD007 | 2003-04-24 | 50 | 55 | 120 | 25 | 14
MAD007 | 2003-05-29 | 85 | 73 | 140 | 29 | 16
MAD007 | 2003-06-26 | 24 | 30 | 76 | 17 | 8
Water Year 2004-2006
No Data Collected

## Nutrients, BOD
Site Code | Date | Nitrate (mg/L) | TKN (mg/L) | Ammonia-N (mg/L) | Phosphorus (mg/L) | Ortho-phosphate-P (mg/L) | Potassium (mg/L) | BOD 5-Day (mg/L) | BOD 10-Day (mg/L)
Water Year 2001
MAD007 | 2000-10-26 | 3.5 | <2 |  | NA | <1 | 4.3 | 0.7 | 1.0
MAD007 | 2000-11-30 | 5.0 | <2 |  | <0.1 | <1 | 6.0 | 0.9 | 1.5
MAD007 | 2000-12-28 | 5.0 | <2 |  | <0.1 | <1 | 5.2 | 0.8 | 1.0
MAD007 | 2001-01-25 | NA | NA |  | 0.2 | <1 | 5.9 | 1.0 | 1.7
MAD007 | 2001-02-07 | NA | <2 |  | NA | <1 | NA
MAD007 | 2001-02-22 | 9.0 | <2 |  | NA | <1 | 5.4 | 0.7 | 1.4
MAD007 | 2001-03-29 | 9.7 | NA |  | 0.2 | <1 | 6.9 | 0.7 | 1.4
MAD007 | 2001-04-18 | 5.9 | <2 |  | 0.1 | <1 | 4.8
MAD007 | 2001-04-26 | 7.6 | <2 |  | 0.2 | <1 | 5.1 | 0.9 | 1.7
MAD007 | 2001-05-15 | 4.0 | <2 |  | 0.1 | <1 | 4.6
MAD007 | 2001-05-31 | 3.7 | <2 |  | 0.1 | <1 | 4.6 | 0.7 | 1.2
MAD007 | 2001-06-28 | 3.6 | <2 |  | 0.2 | <1 | 4.3 | 0.5 | 1.2
MAD007 | 2001-08-14 | 2.4 | <2 |  | 0.2 | <1 | 4.8
MAD007 | 2001-08-30 | 2.4 | <2 |  | 0.2 | <1 | 5.2
MAD007 | 2001-09-27 | 2.9 | <2 |  | 0.2 | <1 | 6.8
Water Year 2002
MAD007 | 2001-10-25 | 2.7 | <2 |  | 0.1 | <1 | 6.0 | 0.6 | 0.8
MAD007 | 2001-11-29 | NA | NA |  | NA | 0.1 | NA | 1.2 | 2.0
MAD007 | 2001-12-27 | NA | NA |  | 0.1 | 0.1 | 4.6 | 0.6 | 1.4
MAD007 | 2002-01-31 | NA | 1.3 |  | 0.2 | 0.1 | NA | 1.0 | 1.6
MAD007 | 2002-02-28 | NA | NA |  | 0.1 | 0.1 | 3.5 | 0.6 | 1.2
MAD007 | 2002-03-28 | NA | 0.4 |  | 0.1 | 0.1 | 3.5 | 0.8 | 1.2
MAD007 | 2002-04-24 | NA | NA |  | 0.2 | 0.1 | 4.1 | 0.9 | 1.5
MAD007 | 2002-05-30 | NA | NA |  | NA | 0.1 | 4.7 | 0.7 | 0.9
MAD007 | 2002-06-20 | NA | 0.4 |  | NA | 0.1 | 4.0 | 0.7 | 1.3
MAD007 | 2002-08-29 | NA | 1.0 |  | NA | 0.1 | 4.5 | 0.8 | 1.3
MAD007 | 2002-09-26 | NA | 0.3 |  | 0.1 | 0.1 | 5.7 | 0.8 | 1.4
Water Year 2003
MAD007 | 2002-10-31 | NA | 0.1 |  | 0.1 | 0.1 | 3.7 | 0.3 | 0.5
MAD007 | 2002-11-21 | NA | 0.4 |  | <0.05 | <0.03 | 3.4 | 0.8 | 1.0
MAD007 | 2002-12-19 | NA | 0.4 |  | <0.05 | <0.03 | 3.7 | 1.1 | 1.4
MAD007 | 2003-01-30 | NA | 1.2 |  | NA | 0.1 | 3.0 | 1.0 | 1.5
Water Year 2004-2006
No Data Collected

## Trace Metals
Site Code | Date | Total Arsenic (ug/L) | Total Cadmium (ug/L) | Total Cd criteria | Total Chromium (ug/L) | Total Cr criteria | Total Copper (ug/L) | Total Cu criteria | Total Lead (ug/L) | Total Pb criteria | Total Nickel (ug/L) | Total Ni criteria | Total Zinc (ug/L) | Total Zn criteria | Total Mercury (ug/L) | Dissolved Arsenic (ug/L) | Dissolved Cadmium (ug/L) | Dissolved Cd criteria | Dissolved Chromium (ug/L) | Dissolved Cr criteria | Dissolved Copper (ug/L) | Dissolved Cu criteria | Dissolved Lead (ug/L) | Dissolved Pb criteria | Dissolved Nickel (ug/L) | Dissolved Ni criteria | Dissolved Zinc (ug/L) | Dissolved Zn criteria | Dissolved Mercury (ug/L) | Site Code | Date | Hardness (mg/L)
Water Year 2001 | [29 empty] | Water Year 2001
MAD007 | 2000-11-30 |  |  |  | 2.0 | 272.6544 | 3.5 | 12.4365 | <5 |  | <5 |  | 6.7 | 159.3421 |  |  |  |  | <1 |  | 1.1 | 11.939 | <5 |  | <5 |  | 3.2 | 157.1113 |  | MAD007 | 2000-11-30 | 140
MAD007 | 2000-12-28 |  |  |  | <1 | 256.598 | 2.2 | 11.6733 | <5 |  | <5 |  | <2 | 149.6444 |  |  |  |  | <1 |  | <1 | 11.2064 | <5 |  | <5 |  | <2 |  |  | MAD007 | 2000-12-28 | 130
MAD007 | 2001-01-25 |  |  |  | 1.8 | 304.1641 | 3.8 | 13.9396 | <5 |  | <5 |  | 4.8 | 178.4297 |  |  |  |  | <1 |  | <1 | 13.382 | <5 |  | <5 |  | <2 |  |  | MAD007 | 2001-01-25 | 160
MAD007 | 2001-02-22 |  |  |  | 1.6 | 304.1641 | 3.6 | 13.9396 | <5 |  | <5 |  | 5.1 | 178.4297 |  |  |  |  | <1 |  | 1.5 | 13.382 | <5 |  | <5 |  | <2 |  |  | MAD007 | 2001-02-22 | 160
MAD007 | 2001-03-29 |  |  |  | 2.2 | 380.0417 | 3.8 | 17.586 | <5 |  | <5 |  | 5.5 | 224.6636 |  |  |  |  | <1 |  | 2.3 | 16.8826 | <5 |  | <5 |  | <2 |  |  | MAD007 | 2001-03-29 | 210
MAD007 | 2001-04-26 |  |  |  | 1.8 | 319.6475 | 3.0 | 14.6808 | <5 |  | <5 |  | 3.7 | 187.8346 |  |  |  |  | <1 |  | 1.2 | 14.0936 | <5 |  | <5 |  | <2 |  |  | MAD007 | 2001-04-26 | 170
MAD007 | 2001-05-31 |  |  |  | 1.1 | 240.3162 | 2.8 | 10.9016 | <5 |  | <5 |  | 4.1 | 139.832 |  |  |  |  | <1 |  | 1.4 | 10.4656 | <5 |  | <5 |  | <2 |  |  | MAD007 | 2001-05-31 | 120
MAD007 | 2001-06-28 | 3.1 | <1 |  | 1.9 | 223.7867 | 3.4 | 10.1205 | <5 |  | <5 |  | 4.8 | 129.8938 | <0.2 | 2.8 | <1 |  | <1 |  | <1 | 9.7157 | <5 |  | <5 |  | <2 |  | <0.2 | MAD007 | 2001-06-28 | 110
MAD007 | 2001-07-26 | NA | NA |  | 2.6 |  | 3.4 | #VALUE! | <5 |  | <5 |  | NA |  | NA | NA | NA |  | NA |  | NA |  | NA |  | NA |  | NA |  | NA
MAD007 | 2001-08-30 | 3.5 | <1 |  | 1.5 | 240.3162 | 2.3 | 10.9016 | <5 |  | <5 |  | 4.2 | 139.832 |  | 2.9 | <1 |  | <1 |  | 1.2 | 10.4656 | <5 |  | <5 |  | <2 |  |  | MAD007 | 2001-08-30 | 120
MAD007 | 2001-09-27 | <4 | <0.1 |  | 2.5 | 256.598 | 4.7 | 11.6733 | <5 |  | <5 |  | 6.5 | 149.6444 | <0.2 | <4 | <0.1 |  | <1 |  | 1.6 | 11.2064 | <5 |  | <5 |  | <2 |  | <0.2 | MAD007 | 2001-09-27 | 130
Water Year 2002 | [29 empty] | Water Year 2002
MAD007 | 2001-10-25 | <4 | <0.1 |  | <1 | 240.3162 | 1.9 | 10.9016 | <5 |  | <5 |  | <2 | 139.832 | NA | <4 | <0.1 |  | <1 |  | 1.7 | 10.4656 | <5 |  | <5 |  | <2 |  | NA | MAD007 | 2001-10-25 | 120
MAD007 | 2001-11-29 | <4 | <0.1 |  | 3.9 | 206.9825 | 4.0 | 9.3289 | <5 |  | 6.0 | 52.163 | 12 | 119.8164 | <0.2 | <4 | <0.1 |  | <1 |  | <1 | 8.9558 | <5 |  | <5 |  | 5.7 | 118.139 | <0.2 | MAD007 | 2001-11-29 | 100
MAD007 | 2001-12-27 | <4 | <0.1 |  | 3.0 | 288.5044 | 4.2 | 13.1917 | <5 |  | 5.2 | 73.5082 | 7.9 | 168.9345 | <0.2 | <4 | <0.1 |  | <1 |  | 2.3 | 12.664 | <5 |  | <5 |  | 2.1 | 166.5695 | <0.2 | MAD007 | 2001-12-27 | 150
MAD007 | 2002-02-28 | <4.0 | <0.1 |  | 1.3 | 350.1329 | 4.0 | 16.1445 | <5.0 |  | <5.0 |  | 7.0 | 206.3974 | <0.2 | <4.0 | <0.1 |  | <1.0 |  | 2.3 | 15.4988 | <5.0 |  | <5.0 |  | 4.6 | 203.5078 | <0.2 | MAD007 | 2002-02-28 | 190
MAD007 | 2002-03-28 | <4.0 | <0.1 |  | <1.0 | 304.1641 | 2.6 | 13.9396 | <5.0 |  | NA |  | 4.2 | 178.4297 | <0.2 | <4.0 | <0.1 |  | <1.0 |  | 1.2 | 13.382 | <5.0 |  | <5.0 |  | 2.9 | 175.9317 | <0.2 | MAD007 | 2002-03-28 | 160
MAD007 | 2002-04-24 | 4.1 | <0.1 |  | <1.0 | 240.3162 | 1.9 | 10.9016 | <5.0 |  | <5.0 |  | <2.0 | 139.832 | <0.2 | 5.6 | <0.1 |  | <1.0 |  | 3.2 | 10.4656 | <5.0 |  | <5.0 |  | <2.0 |  | <0.2 | MAD007 | 2002-04-24 | 120
MAD007 | 2002-05-30 | <4.0 | <0.1 |  | 1.0 | 240.3162 | 2.6 | 10.9016 | <5.0 |  | <5.0 |  | <2.0 | 139.832 | <0.2 | <4.0 | <0.1 |  | <1.0 |  | 1.9 | 10.4656 | <5.0 |  | <5.0 |  | <2.0 |  | <0.2 | MAD007 | 2002-05-30 | 120
MAD007 | 2002-06-20 | <4.0 | <0.1 |  | 1.0 | 223.7867 | 2.5 | 10.1205 | <5.0 |  | <5.0 |  | 3.5 | 129.8938 | <0.2 | <4.0 | <0.1 |  | <1.0 |  | 1.9 | 9.7157 | <5.0 |  | <5.0 |  | 2.5 | 128.0753 | <0.2 | MAD007 | 2002-06-20 | 110
MAD007 | 2002-09-26 | <4.0 | <0.1 |  | 2.0 | 256.598 | 3.7 | 11.6733 | <5.0 |  | <5.0 |  | 5.2 | 149.6444 | <0.2 | <4.0 | <0.1 |  | <1.0 |  | 1.1 | 11.2064 | <5.0 |  | <5.0 |  | <2.0 |  | <0.2 | MAD007 | 2002-09-26 | 130
Water Year 2003 | [29 empty] | Water Year 2003
MAD007 | 2002-10-31 | <4.0 | <0.1 |  | <1.0 | 256.598 | 1.7 | 11.6733 | <5.0 |  | <5.0 |  | <2.0 | 149.6444 | <0.2 | <4.0 | <0.1 |  | <1.0 |  | <1.0 | 11.2064 | <5.0 |  | <5.0 |  | <2.0 |  | <0.2 | MAD007 | 2002-10-31 | 130
MAD007 | 2002-11-21 | <4.0 | <0.1 |  | <1.0 | 256.598 | 2.5 | 11.6733 | <5.0 |  | <5.0 |  | 2.1 | 149.6444 | <0.2 | <4.0 | <0.1 |  | <1.0 |  | 1.6 | 11.2064 | <5.0 |  | <5.0 |  | <2.0 |  | <0.2 | MAD007 | 2002-11-21 | 130
MAD007 | 2003-03-27 | <4.0 | <0.1 |  | 1.4 | 288.5044 | 2.9 | 13.1917 | <5.0 |  | <5.0 |  | 2.9 | 168.9345 | <0.2 | [14 empty] | MAD007 | 2003-03-27 | 150
MAD007 | 2003-04-24 | <4.0 | <0.1 |  | 4.3 | 240.3162 | 5.2 | 10.9016 | <5.0 |  | 5.9 | 60.8625 | 9.4 | 139.832 | <0.2 | [14 empty] | MAD007 | 2003-04-24 | 120
MAD007 | 2003-05-29 | <4.0 | <0.1 |  | 1.6 | 272.6544 | 4.0 | 12.4365 | <5.0 |  | <5.0 |  | 3.5 | 159.3421 | <0.2 | [14 empty] | MAD007 | 2003-05-29 | 140
MAD007 | 2003-06-26 | <4.0 | <0.1 |  | 2.4 | 165.318 | 3.4 | 7.3788 | <5.0 |  | <5.0 |  | 5.7 | 94.9576 | NA | [14 empty] | MAD007 | 2003-06-26 | 76
Water Year 2004-2006 | [29 empty] | Water Year 2004-2006
No Data Collected | [29 empty] | No Data Collected