## FieldData, B, Se, TSS, TOC, Bac
Site Code | Date | Time | Temp (C) | Temp (F) | Field EC (umhos) | Lab EC (umhos) | pH | Dissolved Oxygen (mg/L) | Boron (mg/L) | Se (ug/L) | TSS (mg/L) | Turbidity (ntu) | TOC (mg/L) | Total Coli MPN | E. Coli MPN
Water Year 1996
STC512 | 1995-10-06 |  |  | 68 | 480 | 448 | 8 |  | 0.2 | 0.4
STC512 | 1995-10-12 |  |  | 66 | 420 | 406 | 7.7 |  | 0.2 | 0.3
STC512 | 1995-10-18 |  |  | 72 | 560 | 571 | 7.2 |  | 0.3 | 0.7
STC512 | 1995-10-25 |  |  | 62 | 1040 | 1020 | 8.1 |  | 0.9 | 7.1
STC512 | 1995-11-03 |  |  | 62 | 930 | 927 | 7.9 |  |  | 3
STC512 | 1995-11-09 |  |  | 64 | 1190 | 1150 | 8 |  | 0.6 | 1.7
STC512 | 1995-11-20 |  |  | 64 | 1840 | 1780 | 7.7 |  | 1.4 | 7.5
STC512 | 1995-11-27 |  |  | 54 | 1820 | 1790 | 8 |  | 1.3 | 6.4
STC512 | 1995-12-08 |  |  | 60 | 1530 | 1620 | 7.9 |  | 1.3 | 7.9
STC512 | 1995-12-18 |  |  | NA | 1550 | 1290 | 7.9 |  | 1.1 | 5
STC512 | 1995-12-22 |  |  | 49 | 1600 | 1580 | 7.9 |  | 1.3 | 6.1
STC512 | 1995-12-28 |  |  | 52 | 1800 | 1800 | 8.1 |  | 1.3 | 7.4
STC512 | 1996-01-04 |  |  | 56 | 2170 | 2180 | 7.8 |  | 1.4 | 3.3
STC512 | 1996-01-11 |  |  | 54 | 2400 | 2510 | 7.8 |  | 1.6 | 3.6
STC512 | 1996-01-18 |  |  | 53 | 2240 | 2250 | 8 |  | 1.8 | 14
STC512 | 1996-01-25 |  |  | 46 | 1670 | 1780 | 7.8 |  | 1.5 | 8.1
STC512 | 1996-02-02 |  |  | 58 | 712 | 819 | 7.7 |  | 0.5 | 2.2
STC512 | 1996-02-09 |  |  | NA | NA | NA | NA |  | NA | NA
STC512 | 1996-02-16 |  |  | 64 | 1480 | 1440 | 7.7 |  | 1.3 | 9.3
STC512 | 1996-02-22 |  |  | 47 | 734 | 794 | 7.7 |  | 0.5 | 3
STC512 | 1996-03-01 |  |  | 58 | 1040 | 1060 | 7.8 |  | 0.9 | 4.6
STC512 | 1996-03-08 |  |  | 60 | 493 | 526 | 7.6 |  | 0.4 | 1.8
STC512 | 1996-03-18 |  |  | 62 | 527 | 637 | 7.7 |  | 0.4 | 2.4
STC512 | 1996-03-21 |  |  | 70 | 623 | 632 | NA |  | 0.4 | 2.6
STC512 | 1996-03-28 |  |  | 61 | 1430 | 1010 | 8.3 |  | 0.8 | 3.9
STC512 | 1996-04-03 |  |  | 68 | 1440 | 1410 | 7.8 |  | 1 | 6.5
STC512 | 1996-04-12 |  |  | 66 | 2790 | 2290 | 8.1 |  | 1.5 | 7.7
STC512 | 1996-04-19 |  |  | 65 | 1600 | 1460 | 7.9 |  | 1.3 | 10.6
STC512 | 1996-04-25 |  |  | 66 | 1860 | 1920 | 8.1 |  | 1.3 | 11.1
STC512 | 1996-05-03 |  |  | 76 | 2520 | 2150 | 8.2 |  | 1.6 | 13.2
STC512 | 1996-05-10 |  |  | 72 | 1740 | 1850 | 7.9 |  | 1.3 | 12.2
STC512 | 1996-05-16 |  |  | 69 | 1490 | 1550 | 7.8 |  | 0.9 | 9.9
STC512 | 1996-05-24 |  |  | 66 | 160 | 178 | 7.5 |  | 0.09 | 0.4
STC512 | 1996-05-30 |  |  | 70 | 859 | 898 | 7.6 |  | 0.6 | 4.9
STC512 | 1996-06-06 |  |  | 82 | 2050 | 2170 | 7.8 |  | 1.5 | 10.8
STC512 | 1996-06-13 |  |  | 81 | 2170 | 2190 | 7.9 |  | 2 | 13
STC512 | 1996-06-19 |  |  | 80 | 1620 | 1630 | 8.1 |  | 1.6 | 10.6
STC512 | 1996-06-27 |  |  | 71 | 1680 | 1700 | 7.9 |  | 1.4 | 11.6
STC512 | 1996-07-02 |  |  | 87 | 1650 | 1550 | 7.9 |  | 1.3 | 11
STC512 | 1996-07-11 |  |  | 84 | 1940 | 2010 | 8 |  | 2 | 13.3
STC512 | 1996-07-19 |  |  | 78 | 1660 | 1670 | 8.6 |  | 1.6 | 11.2
STC512 | 1996-07-25 |  |  | 81 | 1840 | 1810 | 7.5 |  | 1.8 | 11.7
STC512 | 1996-08-02 |  |  | 86 | 1700 | 1710 | 8 |  | 1.9 | 11.5
STC512 | 1996-08-08 |  |  | 88 | 1360 | 1350 | 7.9 |  | 1.3 | 8.9
STC512 | 1996-08-15 |  |  | 85 | 1380 | 1300 | 7.9 |  | 1.2 | 8.3
STC512 | 1996-08-23 |  |  | 82 | 1270 | 1230 | 8 |  | 1.1 | 8.1
STC512 | 1996-08-28 |  |  | 72 | 1150 | 1210 | 7.8 |  | 1 | 7.1
STC512 | 1996-09-05 |  |  | 74 | 1150 | 1150 | 8.2 |  | 0.9 | 7.5
STC512 | 1996-09-12 |  |  | 74 | 1040 | 1110 | 8.1 |  | 1 | 6.8
STC512 | 1996-09-17 |  |  | 71 | 959 | 874 | 8.2 |  | 0.6 | 2.8
STC512 | 1996-09-26 |  |  | 70 | 1520 | 1520 | 8.3 |  | 1.4 | 5.8
Water Year 1997
STC512 | 1996-10-03 |  |  | 67 | 1110 | 1170 | 6.8 |  | 0.9 | 6.8
STC512 | 1996-10-08 |  |  | 73 | 1300 | 1480 | 7.7 |  | 1 | 5.2
STC512 | 1996-10-17 |  |  | 67 | 1420 | 1690 | 7.5 |  | 1.2 | 5.9
STC512 | 1996-10-24 |  |  | 59 | 986 | 1010 | 7.5 |  | 0.7 | 2.3
STC512 | 1996-10-31 |  |  | 59 | 903 | 989 | 7.9 |  | 0.7 | 2.9
STC512 | 1996-11-07 |  |  | 58 | 1240 | 1230 | 6.2 |  | 1 | 3.3
STC512 | 1996-11-15 |  |  | 60 | 1700 | 1710 | 7.8 |  | 1.4 | 4.2
STC512 | 1996-11-22 |  |  | 66 | 1330 | 1360 | 7.7 |  | 1.1 | 4
STC512 | 1996-11-27 |  |  | 60 | 1020 | 1080 | 7.5 |  | 0.9 | 2.5
STC512 | 1996-12-06 |  |  | 52 | 1740 | 1780 | 7.5 |  | 1.3 | 2
STC512 | 1996-12-12 |  |  | 58 | 405 | 370 | 7.4 |  | 0.3 | 0.9
STC512 | 1996-12-19 |  |  | 52 | 422 | 510 | 7.2 |  | 0.3 | 0.9
STC512 | 1996-12-26 |  |  | 48 | 467 | 431 | 7 |  | 0.3 | 1.1
STC512 | 1997-01-09 |  |  | NA | NA | NA | NA |  | NA | NA
STC512 | 1997-01-24 |  |  | 52 | 660 | 548 | 7.6 |  | 0.4 | 1.1
STC512 | 1997-02-07 |  |  | NA | NA | NA | NA |  | NA | NA
STC512 | 1997-02-13 |  |  | NA | NA | NA | NA |  | NA | NA
STC512 | 1997-02-21 |  |  | 58 | 496 | 506 | 7.6 |  | 0.4 | 1.6
STC512 | 1997-02-26 |  |  | 54 | 438 | 473 | 7.7 |  | 0.3 | 1.4
STC512 | 1997-03-05 |  |  | 54 | 491 | 507 | 8 |  | 0.4 | 1.9
STC512 | 1997-03-12 |  |  | 61 | 988 | 968 | 7.3 |  | 0.7 | 3.9
STC512 | 1997-03-20 |  |  | 67 | 1580 | 1570 | 7.9 |  | 1.3 | 7.5
STC512 | 1997-03-27 |  |  | 70 | NA | 1830 | 7.3 |  | 1.4 | 7
STC512 | 1997-04-03 |  |  | 57 | 2200 | 2270 | 7.9 |  | 1.7 | 11.4
STC512 | 1997-04-10 |  |  | 58 | 2360 | 2500 | 7.8 |  | 2 | 15
STC512 | 1997-04-17 |  |  | 69 | 2580 | 2670 | 7.6 |  | 2.1 | 18
STC512 | 1997-04-24 |  |  | 62 | 2580 | 2590 | 7.6 |  | 2.1 | 16
STC512 | 1997-05-02 |  |  | 66 | 2240 | 2340 | 8.2 |  | 2 | 15.8
STC512 | 1997-05-08 |  |  | 69 | 2230 | 2240 | 6.5 |  | 1.6 | 9.7
STC512 | 1997-05-15 |  |  | 81 | 2630 | 2700 | 8.2 |  | 2.1 | 15.3
STC512 | 1997-05-23 |  |  | 70 | 1970 | 2040 | 7.6 |  | 1.7 | 10.2
STC512 | 1997-05-29 |  |  | 80 | 1950 | 1980 | 8.1 |  | 2 | 13
STC512 | 1997-06-05 |  |  | 69 | 2400 | 2390 | 8.1 |  | 2.1 | 13.2
STC512 | 1997-06-12 |  |  | 76 | 2370 | 2410 | 8.3 |  | 2.3 | 11.3
STC512 | 1997-06-19 |  |  | NA | NA | NA | NA |  | NA | NA
STC512 | 1997-06-25 |  |  | 74 | 2290 | 2400 | 8.3 |  | 2.5 | 16.3
STC512 | 1997-07-02 |  |  | 73 | 1770 | 1740 | 8.1 |  | 1.7 | 10
STC512 | 1997-07-10 |  |  | 76 | 1850 | 1880 | 8.2 |  | 2 | 11.1
STC512 | 1997-07-17 |  |  | 78 | 1840 | 1820 | 7.7 |  | 1.9 | 7.5
STC512 | 1997-07-24 |  |  | 77 | 1690 | 1710 | 7.8 |  | 1.8 | 9.2
STC512 | 1997-07-31 |  |  | 74 | 1450 | 1410 | 6.6 |  | 1.4 | 5.4
STC512 | 1997-08-07 |  |  | 79 | 1780 | 1720 | 7.9 |  | 1.6 | 7.5
STC512 | 1997-08-14 |  |  | 78 | 1650 | 1580 | 7.5 |  | 1.7 | 8
STC512 | 1997-08-21 |  |  | 79 | 1250 | 1300 | 7.6 |  | 1.2 | 5.8
STC512 | 1997-08-27 |  |  | 82 | 1370 | 1380 | 8 |  | 1.3 | 4.9
STC512 | 1997-09-05 |  |  | 82 | 1780 | 1850 | 8.2 |  | 1.6 | 7.6
STC512 | 1997-09-12 |  |  | 79 | 1740 | 1700 | 8.1 |  | 1.5 | 4.9
STC512 | 1997-09-18 |  |  | 72 | 1330 | 1380 | 7.7 |  | 1 | 2.3
STC512 | 1997-09-25 |  |  | 86 | 1590 | 1680 | 8.4 |  | 1.1 | 2.7
Water Year 1998
STC512 | 1997-10-02 |  |  | 76 | 1110 | 1150 | 7.8 |  | 0.9 | 3
STC512 | 1997-10-09 |  |  | 67 | 1540 | 1560 | 7.7 |  | 1.6 | 7.8
STC512 | 1997-10-16 |  |  | 68 | 1530 | 1390 | 7.5 |  | 1.3 | 4.2
STC512 | 1997-10-24 |  |  | 60 | 1610 | 1700 | 8 |  | 1.4 | 5.5
STC512 | 1997-10-30 |  |  | 65 | 1630 | 1730 | 7.5 |  | 1.5 | 4.9
STC512 | 1997-11-06 |  |  | 66 | 1660 | 1700 | 7.1 |  | 1.4 | 5
STC512 | 1997-11-14 |  |  | 58 | 1530 | 1570 | 7.7 |  | 1.4 | 4.1
STC512 | 1997-11-19 |  |  | 60 | 1640 | 1640 | 7.7 |  | 1.3 | 3.3
STC512 | 1997-11-25 |  |  | 64 | 1910 | 1950 | 7.7 |  | 1.5 | 3
STC512 | 1997-12-05 |  |  | 56 | 1420 | 1390 | 8.2 |  | 1.1 | 1.7
STC512 | 1997-12-11 |  |  | 47 | 1550 | 1570 | 7.9 |  | 1.3 | 3.4
STC512 | 1997-12-18 |  |  | 52 | 1960 | 2020 | 7.6 |  | 1.5 | 2.1
STC512 | 1997-12-26 |  |  | 48 | 2300 | 2450 | 7.8 |  | 1.8 | 3.7
STC512 | 1998-01-02 |  |  | 54 | 2660 | 2710 | 7.4 |  | 1.9 | 3.3
STC512 | 1998-01-08 |  |  | 54 | 2410 | 2460 | 8 |  | 1.8 | 5.1
STC512 | 1998-01-15 |  |  | 52 | 619 | 669 | 7.1 |  | 0.5 | 2
STC512 | 1998-01-22 |  |  | 52 | 677 | 692 | 7.7 |  | 0.5 | 1
STC512 | 1998-01-28 |  |  | 56 | 1560 | 1620 | 7.8 |  | 1.3 | 2.4
STC512 | 1998-02-05 |  |  | 54 | 598 | 669 | 7.4 |  | 0.6 | 2
STC512 | 1998-02-11 |  |  | NA | NA | 778 | NA |  | 0.7 | 1.9
STC512 | 1998-02-19 |  |  | 54 | 905 | 917 | 7.5 |  | 0.8 | 3
STC512 | 1998-02-26 |  |  | 58 | 921 | 918 | 7.6 |  | 0.8 | 2.8
STC512 | 1998-03-05 |  |  | 56 | 806 | 857 | 7.8 |  | 0.7 | 2.8
STC512 | 1998-03-12 |  |  | 62 | 812 | 835 | 7.9 |  | 0.7 | 3.3 | 18
STC512 | 1998-03-19 |  |  | 72 | 856 | 888 | 7.3 |  | 0.7 | 3.1 | 31
STC512 | 1998-03-26 |  |  | 66 | 761 | 793 | 7.9 |  | 0.6 | 3.3 | 32
STC512 | 1998-04-02 |  |  | 56 | 779 | 793 | 7.5 |  | 0.6 | 3.1 | 18
STC512 | 1998-04-09 |  |  | 66 | 700 | 681 | 8 |  | 0.6 | 2.4 | 21
STC512 | 1998-04-16 |  |  | 59 | 605 | 611 | 7.7 |  | 0.5 | 3.3 | 25
STC512 | 1998-04-22 |  |  | 74 | 522 | 520 | 8 |  | 0.4 | 2.5 | NA
STC512 | 1998-04-30 |  |  | 68 | 389 | 405 | 7.2 |  | 0.3 | 2.1 | 25
STC512 | 1998-05-07 |  |  | 64 | 462 | 460 | 7 |  | 0.4 | 2.4 | 26
STC512 | 1998-05-14 |  |  | 64 | 447 | 467 | 7.2 |  | 0.4 | 2.2 | 33
STC512 | 1998-05-21 |  |  | 67 | 411 | 432 | 8.2 |  | 0.4 | 2.6 | 31
STC512 | 1998-05-28 |  |  | 61 | 365 | 391 | 7.5 |  | 0.3 | 2.2 | 34
STC512 | 1998-06-04 |  |  | 72 | 275 | 295 | 6.7 |  | 0.2 | 1.5 | 27
STC512 | 1998-06-11 |  |  | 69 | 273 | 295 | 7.4 |  | 0.2 | 1.6 | 30
STC512 | 1998-06-18 |  |  | 78 | 255 | 261 | 6.9 |  | 0.2 | 1.4 | 31
STC512 | 1998-06-24 |  |  | 76 | 229 | 224 | 7.2 |  | 0.2 | 1.1 | 44
STC512 | 1998-07-02 |  |  | 65 | 196 | 208 | 7.4 |  | 0.2 | 0.9
STC512 | 1998-07-09 |  |  | 79 | 286 | 233 | 7.1 |  | 0.2 | 1
STC512 | 1998-07-16 |  |  | 87 | 270 | 282 | 8.5 |  | 0.2 | 1.2
STC512 | 1998-07-23 |  |  | 80 | 503 | 517 | 7.5 |  | 0.4 | 1.9
STC512 | 1998-07-30 |  |  | 78 | 715 | 741 | 7.5 |  | 0.7 | 3.2
STC512 | 1998-08-06 |  |  | 88 | 1110 | 1130 | 7.8 |  | 1 | 5.2
STC512 | 1998-08-12 |  |  | 88 | 1060 | 1080 | 8.2 |  | 1 | 4.4
STC512 | 1998-08-20 |  |  | 74 | 1180 | 1170 | 7.6 |  | 1.1 | 5
STC512 | 1998-08-27 |  |  | 74 | 1170 | 1170 | 7.6 |  | 1.1 | 5
STC512 | 1998-09-03 |  |  | 82 | 1110 | 1170 | 7.2 |  | 1.1 | 5.2
STC512 | 1998-09-10 |  |  | 76 | 1210 | 1200 | 8.1 |  | 1.1 | 5.1
STC512 | 1998-09-17 |  |  | 78 | 841 | 843 | 7.1 |  | 0.9 | 5.3
STC512 | 1998-09-24 |  |  | 73 | 1300 | 909 | NA |  | 0.8 | 3.8
Water Year 1999
STC512 | 1998-10-01 |  |  | 70 | 822 | 830 | 7.7 |  | 0.2 | 2.1 | 87
STC512 | 1998-10-08 |  |  | 70 | 727 | 728 | 7.5 |  | 0.5 | 1.9
STC512 | 1998-10-15 |  |  | 64 | 1290 | 790 | 8.5 |  | 0.6 | 2.6
STC512 | 1998-10-22 |  |  | 68 | 1250 | 1290 | 7.5 |  | 1 | 3.5
STC512 | 1998-10-29 |  |  | 65 | NA | 795 | NA |  | 0.7 | 2.8
STC512 | 1998-11-05 |  |  | 61 | 795 | 797 | 7.8 |  | 0.6 | 1.9 | 74
STC512 | 1998-11-12 |  |  | 55 | 1360 | 1310 | 8 |  | 1 | 3.1 | 58
STC512 | 1998-11-19 |  |  | 56 | 1500 | 1480 | 8.2 |  | 1.1 | 3 | 89
STC512 | 1998-11-24 |  |  | 60 | 1300 | 1350 | 8.1 |  | 1 | 2 | 96
STC512 | 1998-12-03 |  |  | 58 | NA | 746 | NA |  | 0.6 | 1.3 | 76
STC512 | 1998-12-09 |  |  | 52 | NA | 568 | 7.2 |  | 0.4 | 1 | 88
STC512 | 1998-12-17 |  |  | 49 | 607 | 591 | 7.7 |  | 0.4 | 0.9 | 52
STC512 | 1998-12-22 |  |  | 43 | 1050 | 1090 | 8.2 |  | 0.8 | 2.1 | 33
STC512 | 1998-12-30 |  |  | 48 | 1680 | 1670 | 7.8 |  | 1.2 | 3.5 | 41
STC512 | 1999-01-07 |  | 7.6 |  | 1780 | 1820 | 7.9 |  | 1.4 | 3.2 | 30
STC512 | 1999-01-14 |  |  | 43 | 1710 | 1720 | 7.9 |  | 1.3 | 2.9 | 31
STC512 | 1999-01-21 |  | 13.7 |  | 1550 | 1530 | 7.9 |  | 1.2 | 2.8 | 100
STC512 | 1999-01-27 |  | 9.4 |  | 1220 | 1230 | 8.1 |  | 1 | 2.3 | 54
STC512 | 1999-02-04 |  | 11 |  | 1740 | 1670 | 7.8 |  | 1.2 | 3 | 80
STC512 | 1999-02-10 |  | 10.7 |  | 792 | 793 | 7.9 |  | 0.6 | 2.6 | 120
STC512 | 1999-02-18 |  | 12.6 |  | 1280 | 1270 | 7.7 |  | 1 | 4.5 | 86
STC512 | 1999-02-25 |  | 13.6 |  | 1160 | 1160 | 7.9 |  | 0.9 | 4.2 | 84
STC512 | 1999-03-04 |  | 13.6 |  | 1550 | 1630 | 7.8 |  | 1.2 | 5.2 | 90
STC512 | 1999-03-11 |  | 13.3 |  | 1840 | 1770 | 8 |  | 1.5 | 6.5 | 72
STC512 | 1999-03-18 |  | 16 |  | 1960 | 1980 | 8.1 |  | 1.6 | 6.4 | 88
STC512 | 1999-03-25 |  | 18 |  | 1810 | 1790 | 7.9 |  | 1.6 | 5.2 | 100
STC512 | 1999-03-30 |  | 16.4 |  | 2110 | 2110 | 7.9 |  | 1.7 | 6.3 | 96
STC512 | 1999-04-08 |  | 12.1 |  | 2230 | 2270 | 6.9 |  | 1.7 | 9.5 | 73
STC512 | 1999-04-15 |  | 22.2 |  | 1240 | 1240 | 7.2 |  | 0.9 | 3.5 | 90
STC512 | 1999-04-22 |  | 18.3 |  | 1410 | 1440 | 7.3 |  | 1 | 4.5 | 68
STC512 | 1999-04-29 |  | 15.2 |  | 2150 | 2160 | 7.6 |  | 1.4 | 8.1 | 66
STC512 | 1999-05-06 |  | 20.6 |  | 1370 | 1370 | 7.6 |  | 0.9 | 4.3 | 100
STC512 | 1999-05-13 |  | 19.6 |  | 1680 | 1680 | 8.1 |  | 1.2 | 6.2 | 75
STC512 | 1999-05-20 |  | 22.6 |  | 2360 | 2340 | 7.3 |  | 1.8 | 7.7 | 100
STC512 | 1999-05-27 |  | 26.4 |  | 1820 | 1960 | 7.2 |  | 1.5 | 6.9 | 170
STC512 | 1999-06-03 |  | 20.4 |  | 2180 | 2170 | 7.5 |  | 1.7 | 6.8 | 120
STC512 | 1999-06-10 |  | 22.1 |  | 2020 | 2050 | 8.1 |  | 1.9 | 8.4 | 160
STC512 | 1999-06-17 |  | 27.2 |  | 2310 | 2350 | 8 |  | 2.3 | 10.7 | 170
STC512 | 1999-06-24 |  | 26.5 |  | 2150 | 2080 | 7.3 |  | 1.9 | 9.5 | 160
STC512 | 1999-07-01 |  | 25.9 |  | 2220 | 2270 | 7.8 |  | 2.2 | 9.3 | 140
STC512 | 1999-07-08 |  | 26.9 |  | 1950 | 2020 | 8.5 |  | 2.1 | 11.1 | 160
STC512 | 1999-07-15 |  | 25.4 |  | 1850 | 1870 | 8.2 |  | 1.9 | 7.5 | 160
STC512 | 1999-07-29 |  | 24.2 |  | 1650 | 1650 | 8.2 |  | 1.6 | 5.5 | 130
STC512 | 1999-08-05 |  | 26 |  | 1680 | 1700 | 8.1 |  | 1.9 | 8.4 | 120
STC512 | 1999-08-12 |  | 24.2 |  | 1550 | 1580 | 8.1 |  | 1.4 | 5.2 | 130
STC512 | 1999-08-19 |  | 23.4 |  | 1670 | 1710 | 7.5 |  | 1.7 | 6.5 | 100
STC512 | 1999-08-26 |  | 24.4 |  | 1690 | 1730 | 8 |  | 1.6 | 6 | 110
STC512 | 1999-09-02 |  | 20.1 |  | 1450 | 1460 | 7.4 |  | 1.3 | 6.7 | 140
STC512 | 1999-09-09 |  | 26.2 |  | 1570 | 1590 | 8.2 |  | 1.4 | 7.2 | 130
STC512 | 1999-09-16 |  | 23.2 |  | 1470 | 1480 | 6.9 |  | 1.3 | 5.5 | 140
STC512 | 1999-09-23 |  | 26.1 |  | 1510 | 1560 | 7.7 |  | 1.3 | 4.5 | 88
STC512 | 1999-09-30 |  | 22.5 |  | 1320 | 1350 | 6.9 |  | 1 | 3 | 140
Water Year 2000
STC512 | 1999-10-07 |  | 18.4 |  | 1360 | 1380 | 7.7 |  | 1.2 | 3.9
STC512 | 1999-10-14 |  | 22 |  | 1510 | 1530 | 7.6 |  | 1.3 | 2.7
STC512 | 1999-10-21 |  | 19.1 |  | 1270 | 1280 | 7.7 |  | 1 | 1.9
STC512 | 1999-10-28 |  | 18.1 |  | 1430 | 1420 | 7.8 |  | 1 | 2.5
STC512 | 2000-03-02 |  | 12.6 |  | 680 | 695 | 7.6 |  | 0.5 | 2.2
STC512 | 2000-03-09 |  | 11.6 |  | 860 | 863 | 7.5 |  | 0.6 | 2.6
STC512 | 2000-03-16 |  | 15.3 |  | 991 | 1000 | NA |  | 0.8 | 2.7
STC512 | 2000-06-08 |  | 22.3 |  | 2120 | 2140 | 7.9 |  | 2.1 | 9.6
STC512 | 2000-06-15 |  | 28.1 |  | 1810 | 1830 | 8 |  | 1.7 | 9.2
STC512 | 2000-08-17 |  | 29 |  | 1440 | 1460 | 8.1 |  | 1.4 | 4.3
Water Year 2001
STC512 | 2000-10-26 | 12:30 | 14.6 |  | 1280 | 1290 | 7.5 |  | 0.9 | 2 | 42 |  | 8.6
STC512 | 2000-11-30 | 10:30 | 10.2 |  | 1830 | 1810 | 7.5 |  | 1.3 | 3.6 | 34 |  | 3.7
STC512 | 2000-12-28 | 12:10 | 8.7 |  | 2050 | 2040 | 7.6 |  | 1.4 | 4.1 | NA |  | 6.5
STC512 | 2001-01-25 | 13:15 | 10.3 |  | 2060 | 2080 | 7.6 |  | 1.5 | 3.9 | 56 |  | 7.2
STC512 | 2001-02-07 | 10:23 | 10.1 |  | 2170 | 2170 | 6.6
STC512 | 2001-02-22 | 13:55 | 15.1 |  | 2050 | 2080 | 8.1 |  | 1.5 | 7 | 61 |  | 9.5
STC512 | 2001-03-13 | 11:35 | 16.7 |  | 1700 | 1710 | 740
STC512 | 2001-03-29 | 12:30 | 20.5 |  | 2340 | 2360 | 7.9 |  | 1.8 | 7.1 | NA |  | <1
STC512 | 2001-04-18 | 11:20 | 19.2 |  | 2450 | 2440 | 7.7
STC512 | 2001-04-26 | 9:22 | 21.2 |  | 1540 | 1560 | 6.9 |  | 1 | 4.9 |  |  | 5.5
STC512 | 2001-05-15 | 11:45 | 21.9 |  | 1620 | 1650 | 6.9
STC512 | 2001-05-30 | 13:25 | 26.6 |  | 2070 | 2130 | 7.2 |  | 1.5 |  | 110 |  | 11
STC512 | 2001-06-06 | 10:15 | 22.2 |  | 2060 | 2110 | 7.9 | 6.2
STC512 | 2001-06-13 | 9:45 | 21 |  | 2400 | 2450 | 8.1 | 7.7
STC512 | 2001-06-20 | 9:45 | 26 |  | 1800 | 1810 | 7.8 | 6.9
STC512 | 2001-06-27 | 12:27 | 23.6 |  | 1740 |  | 7.9 | 7.7 | 1.5 |  | 150 |  | 11
STC512 | 2001-07-25 | 12:49 | 27 |  | 1690 |  | 8.2 | 9.6 |  |  |  |  | 6.5
STC512 | 2001-08-14 | 11:17 | 23 |  | 1920 |  | 8.3 | 10.1
STC512 | 2001-08-29 | 13:13 | 27 |  | 1950 |  | 8.2 | 3.9 | 1.4 |  | NA |  | 14
STC512 | 2001-09-26 | 11:49 | 21.4 |  | 1750 |  | 7.9 | 8.6 | 1.1 |  | NA |  | 16
Water Year 2002
STC512 | 2001-10-24 | 13:21 | 16.4 |  | 1760 |  | 7.9 | 8.6 | 1.1
STC512 | 2001-11-28 | 12:00 | 10.1 |  | 1790 |  | 8.1 | 10.5 | 1.2 |  |  |  | NA
STC512 | 2001-12-26 | 11:50 | 10.2 |  | 2340 |  | 7.9 | 9.9 | 1.5 |  |  |  | 9.8
STC512 | 2002-01-30 | 12:20 | 8 |  | 2520 |  | 8.1 | 11.8 | 1.7
STC512 | 2002-02-27 | 11:18 | 15.6 |  | 2300 |  | 7.8 | 8.8 | 1.7
STC512 | 2002-03-27 | 10:52 | 16.5 |  | 2570 |  | 8 | 10.1 | 1.9 |  |  |  | NA
STC512 | 2002-04-30 | 11:53 | 17.9 |  | 2480 |  | 8 | 10.6 | 1.9 |  |  |  | NA
STC512 | 2002-05-29 | 11:58 | 24.8 |  | 2200 |  | 8 | 9.4 | 2.1 |  |  |  | 6.1
STC512 | 2002-06-19 | 11:37 | 24.7 |  | 2360 |  | 8.2 | 9.3 | 2.6 |  |  |  | NA
STC512 | 2002-07-30 | 9:05 | 23.7 |  | 1410 |  | 7.6 | 6.6 |  |  |  | 141 |  | >2419.6 | 124
STC512 | 2002-08-28 | 12:45 | 26.9 |  | 1840 | 1870 | 8.2 | NA | 1.7 | 6.4
STC512 | 2002-09-25 | 13:20 | 24.4 |  | 1640 |  | 7.9 | 8.9 | 1.1 |  |  |  | NA
Water Year 2003
STC512 | 2002-10-15 | 9:14 | 17.4 |  | 1910 |  | 7.4 | 7.8 |  |  |  | NA |  | >2419.6 | 77
STC512 | 2002-10-30 | NA | NA |  | NA |  | NA | NA
STC512 | 2002-11-20 | 11:49 | 13.5 |  | 1660 |  | 7.8 | 9.4 | 1.1 |  |  |  | 7.9
STC512 | 2002-12-18 | 11:26 | 10.6 |  | 1460 |  | 7.7 | 8.5 |  |  |  | 150 | 7
STC512 | 2003-01-14 | NA | NA |  | NA |  | NA | NA |  |  |  | NA |  | NA | NA
STC512 | 2003-01-29 | 12:05 | 13.4 |  | 2140 |  | 7.7 | 8.5 |  |  |  | 57.9
STC512 | 2003-03-25 | 10:27 | 16.7 |  | 2300 |  | 7.7 | 9.5 | 1.8 |  |  | 88.6 | 6.7
STC512 | 2003-04-24 | 12:33 | 17.5 |  | 2900 |  | 7.9 | 8.8 | 2.2 |  |  | 27.5 | NA | >2419.6 | 816
STC512 | 2003-05-29 | 11:27 | 26.1 |  | 2160 |  | 7.8 | 7.4 | 2.1 |  |  | 142 | 9.7
STC512 | 2003-06-26 | 11:06 | 24.8 |  | 1850 |  | 8.1 | 8.2 | 2 |  |  | 130 | 6.2
STC512 | 2003-07-31 | 11:52 | 26.2 |  | 1550 |  | 7.8 | 5.9 |  |  |  | 154 |  | >2419.6 | >2419.6
STC512 | 2003-08-28 | 11:35 | 24.3 |  | 1490 |  | 7.9 | 8 |  |  |  | 116 |  | >2419.6 | 155
STC512 | 2003-09-25 | 11:45 | 22.2 |  | 1550 |  | 7.9 | 8.8 |  |  |  | 64.8 |  | >2419.6 | 238
Water Year 2004
STC512 | 2003-10-30 | 11:42 | 16.7 |  | 1630 |  | 7.8 | 7.5 |  |  |  | 67.4 |  | >2419.6 | 120
STC512 | 2003-11-20 | 12:11 | 13.7 |  | 1610 |  | 7.8 | 9.1 |  |  |  | 44.3 |  | >2419.6 | 328
STC512 | 2004-01-29 | 11:30 | 11.4 |  | 2240 |  | 7.7 | 11.4 |  |  |  | 44.8 |  | >2419.6 | 33
STC512 | 2004-02-26 | 11:28 | 12.6 |  | 1500 |  | 7.8 | 9.7 |  |  |  | NA |  | >2419.6 | 387
STC512 | 2004-03-11 | 10:58 | 18.2 |  | 1880 |  | 8 | 8.7 |  |  |  | NA
STC512 | 2004-03-25 | 11:37 | 18.5 |  | 2390 |  | 8 | 8.9 | 1.8 | 5.8 |  | 56.2 |  | >2419.6 | 69
STC512 | 2004-04-15 | 10:54 | 18.7 |  | 3080 |  | 8 | 9.8 |  |  |  | 49.8
STC512 | 2004-04-29 | 12:25 | 18.7 |  | 2780 |  | 8.2 | NA | 2 | 9.6 |  | 46.8 |  | >2419.6 | 236
STC512 | 2004-05-13 | 11:29 | 21.2 |  | 1830 |  | 8 | 24.4 |  |  |  | 59.8
STC512 | 2004-05-27 | 10:38 | 22.7 |  | 2140 |  | 8 | NA | 1.5 | 4.2 |  | NA | 10 | >2419.6 | 214
STC512 | 2004-06-10 | 12:04 | 22.2 |  | 1900 |  | 8.1 | 9.3 |  |  |  | 194
STC512 | 2004-06-24 | 11:10 | 24.3 |  | 1160 |  | 8.1 | 8.8 | 1.8 | 6.8 |  | NA |  | >2419.6 | 75
STC512 | 2004-07-15 | 11:21 | 24.8 |  | 1830 |  | 8.1 | 10.6
STC512 | 2004-07-29 | 10:53 | 25.4 |  | 1960 |  | 8.2 | 9.7 | 1.9 | 4.3 |  |  | 11 | >2419.6 | 99
STC512 | 2004-08-26 | 11:16 | 23.7 |  | 1160 |  | 8.2 | 8.8 | 1.1 | 2.7 |  |  |  | >2419.6 | 91
STC512 | 2004-09-30 | 11:05 | 19.5 |  | 2180 |  | 7.8 | 9.4 | 2.1 | 3.8 |  |  |  | >2419.6 | 78
Water Year 2005
STC512 | 2004-10-28 | 10:27 | 12.9 |  | 1150 |  | 7.7 | 10.3 | 1 | 2.4 |  |  |  | >2419.6 | 291
STC512 | 2004-11-18 | 10:29 | 13.5 |  | 1340 |  | 7.6 | 7.8 |  |  |  |  | 9.3 | >2419.6 | 152
STC512 | 2004-11-23 | 11:48 | 9.6 |  | 1580 |  | 7.4 | 11.8 | 1.2 | 1.8
STC512 | 2004-12-22 | 10:27 | 8.7 |  | 1840 |  | 7.9 | 12.6 |  |  |  |  | 8.3 | >2419.6 | 44
STC512 | 2004-12-29 | 11:05 | 9.7 |  | 1820 |  | 7.5 | 10.9 | 1.3 | 1.9
STC512 | 2005-01-20 | 10:52 | 8.6 |  | 821 |  | 7.4 | 8.6 | [5 empty] | >2419.6 | 27
STC512 | 2005-01-27 | 13:06 | 11.4 |  | 1630 |  | 7.4 | 12.2 | 1.2 | 3
STC512 | 2005-02-17 | 11:59 | 14.4 |  | 1330 |  | 7.7 | 11.2 |  |  |  |  | 11 | >2419.6 | 1203
STC512 | 2005-02-24 | 11:15 | 14.9 |  | 1090 |  | 7.5 | 8.2 | 0.9 | 1.9
STC512 | 2005-03-24 | 10:59 | 14.9 |  | 960 |  | 7.4 | 9.3 |  |  |  |  | 11 | >2419.6 | 1203
STC512 | 2005-03-29 | 13:16 | 15.6 |  | 859 |  | 7.3 | 9.2 | 0.6 | P
STC512 | 2005-04-21 | 10:54 | 16.9 |  | 1620 |  | 7.8 | 10.3 |  |  |  |  | 8.7 | >2419.6 | 114
STC512 | 2005-04-28 | 11:36 | 18.0 |  | 1580 |  | 7.7 | 9.3 | 0.9 | 3.5
STC512 | 2005-05-19 | 10:55 | 20.3 |  | 307 |  | 7.2 | 7.2 |  |  |  |  | 6.6 | >2419.6 | 411
STC512 | 2005-05-26 | 12:34 | 22.8 |  | 220 |  | 7.3 | 5.2 | 0.2 | 0.5
STC512 | 2005-06-23 | 11:41 | 23.0 |  | 993 |  | NA | 8.8 |  |  |  |  | 6.2 | >2419.6 | 77
STC512 | 2005-06-30 | 12:06 | 26.1 |  | 520 |  | 7.7 | 8.2 | 0.7 | 2.2
STC512 | 2005-07-21 | 10:15 | 27.8 |  | 1680 |  | 8.1 | 8.5 |  |  |  |  | 6.2 | >2419.6 | 31
STC512 | 2005-07-28 | 11:34 | 27.3 |  | 1820 |  | 7.7 | 8.7 | 1.4 | 3.6
STC512 | 2005-08-18 | 11:00 | 25.1 |  | 1420 |  | 8.0 | 7.5 |  |  |  |  | 5.4 | >2419.6 | 108
STC512 | 2005-08-25 | 11:55 | 25.0 |  | 1500 |  | 7.7 | 8.3 | 1.5 | 5.7
STC512 | 2005-09-21 | 8:45 | 21.1 |  | 1190 |  | 7.8 | 7.7 | [5 empty] | >2419.6 | 192
STC512 | 2005-09-22 | 11:40 | 23.0 |  | 1260 |  | 7.4 | 8.7 |  |  |  |  | NA
STC512 | 2005-09-29 | 11:58 | 22.0 |  | 1490 |  | 7.0 | 8.0 | 1.0 | 3.5
Water Year 2006
STC512 | 2005-10-20 | 11:51 | 18.4 |  | 1270 |  | 7.8 | 8.2 |  |  |  |  | 10 | >2419.6 | 111
STC512 | 2005-10-27 | 11:53 | 17.4 |  | 1190 |  | 7.7 | 8.0 | 0.9 | 1.6
STC512 | 2005-11-17 | 11:21 | 14.2 |  | 1320 |  | 7.5 | 9.7 |  |  |  |  | 8.0 | >2419.6 | 84
STC512 | 2005-11-29 | 11:23 | 10.5 |  | 1530 |  | 7.7 | 11.5 | 1.0 | 2.7
STC512 | 2005-12-29 | 10:39 | 12.2 |  | 1080 |  | 7.8 | 8.7 | 0.9 | 1.1 |  |  | 8.0
STC512 | 2006-01-26 | 11:05 | 10.5 |  | 1770 |  | 7.8 | 10.7 | 1.3 | 3.8 |  |  | 7.8
STC512 | 2006-02-23 | 10:44 | 11.1 |  | 1650 |  | 7.9 | 12.7 | 1.1 | 2.5 |  |  | 7.2
STC512 | 2006-03-23 | 10:33 | 13.3 |  | 897 |  | 7.9 | 15.9 | 0.6 | 1.5 |  |  | 7.6 | 1986 | 770
STC512 | 2006-04-27 | 11:35 | NA |  | NA |  | NA | NA | NA | NA
STC512 | 2006-05-18 | 11:07 | NA |  | NA |  | NA | NA | NA | NA
STC512 | 2006-06-15 | 10:59 | NA |  | NA |  | NA | NA | NA | NA

## DO
Site Code | Date | Time | Temp (C) | Temp (F) | Dissolved Oxygen (mg/L)
STC512 | 2001-08-29 | 13:13 | 27 |  | 3.9
STC512 | 2005-05-26 | 12:34 | 22.8 |  | 5.2
STC512 | 2003-07-31 | 11:52 | 26.2 |  | 5.9
STC512 | 2001-06-06 | 10:15 | 22.2 |  | 6.2
STC512 | 2002-07-30 | 9:05 | 23.7 |  | 6.6
STC512 | 2001-06-20 | 9:45 | 26 |  | 6.9
STC512 | 2005-05-19 | 10:55 | 20.3 |  | 7.2
STC512 | 2003-05-29 | 11:27 | 26.1 |  | 7.4
STC512 | 2003-10-30 | 11:42 | 16.7 |  | 7.5
STC512 | 2005-08-18 | 11:00 | 25.1 |  | 7.5
STC512 | 2001-06-13 | 9:45 | 21 |  | 7.7
STC512 | 2001-06-27 | 12:27 | 23.6 |  | 7.7
STC512 | 2005-09-21 | 8:45 | 21.1 |  | 7.7
STC512 | 2002-10-15 | 9:14 | 17.4 |  | 7.8
STC512 | 2004-11-18 | 10:29 | 13.5 |  | 7.8
STC512 | 2003-08-28 | 11:35 | 24.3 |  | 8
STC512 | 2005-09-29 | 11:58 | 22.0 |  | 8.0
STC512 | 2005-10-27 | 11:53 | 17.4 |  | 8.0
STC512 | 2003-06-26 | 11:06 | 24.8 |  | 8.2
STC512 | 2005-02-24 | 11:15 | 14.9 |  | 8.2
STC512 | 2005-06-30 | 12:06 | 26.1 |  | 8.2
STC512 | 2005-10-20 | 11:51 | 18.4 |  | 8.2
STC512 | 2005-08-25 | 11:55 | 25.0 |  | 8.3
STC512 | 2002-12-18 | 11:26 | 10.6 |  | 8.5
STC512 | 2003-01-29 | 12:05 | 13.4 |  | 8.5
STC512 | 2005-07-21 | 10:15 | 27.8 |  | 8.5
STC512 | 2001-09-26 | 11:49 | 21.4 |  | 8.6
STC512 | 2001-10-24 | 13:21 | 16.4 |  | 8.6
STC512 | 2005-01-20 | 10:52 | 8.6 |  | 8.6
STC512 | 2004-03-11 | 10:58 | 18.2 |  | 8.7
STC512 | 2005-07-28 | 11:34 | 27.3 |  | 8.7
STC512 | 2005-09-22 | 11:40 | 23.0 |  | 8.7
STC512 | 2005-12-29 | 10:39 | 12.2 |  | 8.7
STC512 | 2002-02-27 | 11:18 | 15.6 |  | 8.8
STC512 | 2003-04-24 | 12:33 | 17.5 |  | 8.8
STC512 | 2003-09-25 | 11:45 | 22.2 |  | 8.8
STC512 | 2004-06-24 | 11:10 | 24.3 |  | 8.8
STC512 | 2004-08-26 | 11:16 | 23.7 |  | 8.8
STC512 | 2005-06-23 | 11:41 | 23.0 |  | 8.8
STC512 | 2002-09-25 | 13:20 | 24.4 |  | 8.9
STC512 | 2004-03-25 | 11:37 | 18.5 |  | 8.9
STC512 | 2003-11-20 | 12:11 | 13.7 |  | 9.1
STC512 | 2005-03-29 | 13:16 | 15.6 |  | 9.2
STC512 | 2002-06-19 | 11:37 | 24.7 |  | 9.3
STC512 | 2004-06-10 | 12:04 | 22.2 |  | 9.3
STC512 | 2005-03-24 | 10:59 | 14.9 |  | 9.3
STC512 | 2005-04-28 | 11:36 | 18.0 |  | 9.3
STC512 | 2002-05-29 | 11:58 | 24.8 |  | 9.4
STC512 | 2002-11-20 | 11:49 | 13.5 |  | 9.4
STC512 | 2004-09-30 | 11:05 | 19.5 |  | 9.4
STC512 | 2003-03-25 | 10:27 | 16.7 |  | 9.5
STC512 | 2001-07-25 | 12:49 | 27 |  | 9.6
STC512 | 2004-02-26 | 11:28 | 12.6 |  | 9.7
STC512 | 2004-07-29 | 10:53 | 25.4 |  | 9.7
STC512 | 2005-11-17 | 11:21 | 14.2 |  | 9.7
STC512 | 2004-04-15 | 10:54 | 18.7 |  | 9.8
STC512 | 2001-12-26 | 11:50 | 10.2 |  | 9.9
STC512 | 2001-08-14 | 11:17 | 23 |  | 10.1
STC512 | 2002-03-27 | 10:52 | 16.5 |  | 10.1
STC512 | 2004-10-28 | 10:27 | 12.9 |  | 10.3
STC512 | 2005-04-21 | 10:54 | 16.9 |  | 10.3
STC512 | 2001-11-28 | 12:00 | 10.1 |  | 10.5
STC512 | 2002-04-30 | 11:53 | 17.9 |  | 10.6
STC512 | 2004-07-15 | 11:21 | 24.8 |  | 10.6
STC512 | 2006-01-26 | 11:05 | 10.5 |  | 10.7
STC512 | 2004-12-29 | 11:05 | 9.7 |  | 10.9
STC512 | 2005-02-17 | 11:59 | 14.4 |  | 11.2
STC512 | 2004-01-29 | 11:30 | 11.4 |  | 11.4
STC512 | 2005-11-29 | 11:23 | 10.5 |  | 11.5
STC512 | 2002-01-30 | 12:20 | 8 |  | 11.8
STC512 | 2004-11-23 | 11:48 | 9.6 |  | 11.8
STC512 | 2005-01-27 | 13:06 | 11.4 |  | 12.2
STC512 | 2004-12-22 | 10:27 | 8.7 |  | 12.6
STC512 | 2006-02-23 | 10:44 | 11.1 |  | 12.7
STC512 | 2006-03-23 | 10:33 | 13.3 |  | 15.9
STC512 | 2004-05-13 | 11:29 | 21.2 |  | 24.4
STC512 | 2002-08-28 | 12:45 | 26.9 |  | NA
STC512 | 2002-10-30 | NA | NA |  | NA
STC512 | 2003-01-14 | NA | NA |  | NA
STC512 | 2004-04-29 | 12:25 | 18.7 |  | NA
STC512 | 2004-05-27 | 10:38 | 22.7 |  | NA
STC512 | 2006-04-27 | 11:35 | NA |  | NA
STC512 | 2006-05-18 | 11:07 | NA |  | NA
STC512 | 2006-06-15 | 10:59 | NA |  | NA
STC512 | 1995-10-06 |  |  | 68
STC512 | 1995-10-12 |  |  | 66
STC512 | 1995-10-18 |  |  | 72
STC512 | 1995-10-25 |  |  | 62
STC512 | 1995-11-03 |  |  | 62
STC512 | 1995-11-09 |  |  | 64
STC512 | 1995-11-20 |  |  | 64
STC512 | 1995-11-27 |  |  | 54
STC512 | 1995-12-08 |  |  | 60
STC512 | 1995-12-18 |  |  | NA
STC512 | 1995-12-22 |  |  | 49
STC512 | 1995-12-28 |  |  | 52
STC512 | 1996-01-04 |  |  | 56
STC512 | 1996-01-11 |  |  | 54
STC512 | 1996-01-18 |  |  | 53
STC512 | 1996-01-25 |  |  | 46
STC512 | 1996-02-02 |  |  | 58
STC512 | 1996-02-09 |  |  | NA
STC512 | 1996-02-16 |  |  | 64
STC512 | 1996-02-22 |  |  | 47
STC512 | 1996-03-01 |  |  | 58
STC512 | 1996-03-08 |  |  | 60
STC512 | 1996-03-18 |  |  | 62
STC512 | 1996-03-21 |  |  | 70
STC512 | 1996-03-28 |  |  | 61
STC512 | 1996-04-03 |  |  | 68
STC512 | 1996-04-12 |  |  | 66
STC512 | 1996-04-19 |  |  | 65
STC512 | 1996-04-25 |  |  | 66
STC512 | 1996-05-03 |  |  | 76
STC512 | 1996-05-10 |  |  | 72
STC512 | 1996-05-16 |  |  | 69
STC512 | 1996-05-24 |  |  | 66
STC512 | 1996-05-30 |  |  | 70
STC512 | 1996-06-06 |  |  | 82
STC512 | 1996-06-13 |  |  | 81
STC512 | 1996-06-19 |  |  | 80
STC512 | 1996-06-27 |  |  | 71
STC512 | 1996-07-02 |  |  | 87
STC512 | 1996-07-11 |  |  | 84
STC512 | 1996-07-19 |  |  | 78
STC512 | 1996-07-25 |  |  | 81
STC512 | 1996-08-02 |  |  | 86
STC512 | 1996-08-08 |  |  | 88
STC512 | 1996-08-15 |  |  | 85
STC512 | 1996-08-23 |  |  | 82
STC512 | 1996-08-28 |  |  | 72
STC512 | 1996-09-05 |  |  | 74
STC512 | 1996-09-12 |  |  | 74
STC512 | 1996-09-17 |  |  | 71
STC512 | 1996-09-26 |  |  | 70
STC512 | 1996-10-03 |  |  | 67
STC512 | 1996-10-08 |  |  | 73
STC512 | 1996-10-17 |  |  | 67
STC512 | 1996-10-24 |  |  | 59
STC512 | 1996-10-31 |  |  | 59
STC512 | 1996-11-07 |  |  | 58
STC512 | 1996-11-15 |  |  | 60
STC512 | 1996-11-22 |  |  | 66
STC512 | 1996-11-27 |  |  | 60
STC512 | 1996-12-06 |  |  | 52
STC512 | 1996-12-12 |  |  | 58
STC512 | 1996-12-19 |  |  | 52
STC512 | 1996-12-26 |  |  | 48
STC512 | 1997-01-09 |  |  | NA
STC512 | 1997-01-24 |  |  | 52
STC512 | 1997-02-07 |  |  | NA
STC512 | 1997-02-13 |  |  | NA
STC512 | 1997-02-21 |  |  | 58
STC512 | 1997-02-26 |  |  | 54
STC512 | 1997-03-05 |  |  | 54
STC512 | 1997-03-12 |  |  | 61
STC512 | 1997-03-20 |  |  | 67
STC512 | 1997-03-27 |  |  | 70
STC512 | 1997-04-03 |  |  | 57
STC512 | 1997-04-10 |  |  | 58
STC512 | 1997-04-17 |  |  | 69
STC512 | 1997-04-24 |  |  | 62
STC512 | 1997-05-02 |  |  | 66
STC512 | 1997-05-08 |  |  | 69
STC512 | 1997-05-15 |  |  | 81
STC512 | 1997-05-23 |  |  | 70
STC512 | 1997-05-29 |  |  | 80
STC512 | 1997-06-05 |  |  | 69
STC512 | 1997-06-12 |  |  | 76
STC512 | 1997-06-19 |  |  | NA
STC512 | 1997-06-25 |  |  | 74
STC512 | 1997-07-02 |  |  | 73
STC512 | 1997-07-10 |  |  | 76
STC512 | 1997-07-17 |  |  | 78
STC512 | 1997-07-24 |  |  | 77
STC512 | 1997-07-31 |  |  | 74
STC512 | 1997-08-07 |  |  | 79
STC512 | 1997-08-14 |  |  | 78
STC512 | 1997-08-21 |  |  | 79
STC512 | 1997-08-27 |  |  | 82
STC512 | 1997-09-05 |  |  | 82
STC512 | 1997-09-12 |  |  | 79
STC512 | 1997-09-18 |  |  | 72
STC512 | 1997-09-25 |  |  | 86
STC512 | 1997-10-02 |  |  | 76
STC512 | 1997-10-09 |  |  | 67
STC512 | 1997-10-16 |  |  | 68
STC512 | 1997-10-24 |  |  | 60
STC512 | 1997-10-30 |  |  | 65
STC512 | 1997-11-06 |  |  | 66
STC512 | 1997-11-14 |  |  | 58
STC512 | 1997-11-19 |  |  | 60
STC512 | 1997-11-25 |  |  | 64
STC512 | 1997-12-05 |  |  | 56
STC512 | 1997-12-11 |  |  | 47
STC512 | 1997-12-18 |  |  | 52
STC512 | 1997-12-26 |  |  | 48
STC512 | 1998-01-02 |  |  | 54
STC512 | 1998-01-08 |  |  | 54
STC512 | 1998-01-15 |  |  | 52
STC512 | 1998-01-22 |  |  | 52
STC512 | 1998-01-28 |  |  | 56
STC512 | 1998-02-05 |  |  | 54
STC512 | 1998-02-11 |  |  | NA
STC512 | 1998-02-19 |  |  | 54
STC512 | 1998-02-26 |  |  | 58
STC512 | 1998-03-05 |  |  | 56
STC512 | 1998-03-12 |  |  | 62
STC512 | 1998-03-19 |  |  | 72
STC512 | 1998-03-26 |  |  | 66
STC512 | 1998-04-02 |  |  | 56
STC512 | 1998-04-09 |  |  | 66
STC512 | 1998-04-16 |  |  | 59
STC512 | 1998-04-22 |  |  | 74
STC512 | 1998-04-30 |  |  | 68
STC512 | 1998-05-07 |  |  | 64
STC512 | 1998-05-14 |  |  | 64
STC512 | 1998-05-21 |  |  | 67
STC512 | 1998-05-28 |  |  | 61
STC512 | 1998-06-04 |  |  | 72
STC512 | 1998-06-11 |  |  | 69
STC512 | 1998-06-18 |  |  | 78
STC512 | 1998-06-24 |  |  | 76
STC512 | 1998-07-02 |  |  | 65
STC512 | 1998-07-09 |  |  | 79
STC512 | 1998-07-16 |  |  | 87
STC512 | 1998-07-23 |  |  | 80
STC512 | 1998-07-30 |  |  | 78
STC512 | 1998-08-06 |  |  | 88
STC512 | 1998-08-12 |  |  | 88
STC512 | 1998-08-20 |  |  | 74
STC512 | 1998-08-27 |  |  | 74
STC512 | 1998-09-03 |  |  | 82
STC512 | 1998-09-10 |  |  | 76
STC512 | 1998-09-17 |  |  | 78
STC512 | 1998-09-24 |  |  | 73
STC512 | 1998-10-01 |  |  | 70
STC512 | 1998-10-08 |  |  | 70
STC512 | 1998-10-15 |  |  | 64
STC512 | 1998-10-22 |  |  | 68
STC512 | 1998-10-29 |  |  | 65
STC512 | 1998-11-05 |  |  | 61
STC512 | 1998-11-12 |  |  | 55
STC512 | 1998-11-19 |  |  | 56
STC512 | 1998-11-24 |  |  | 60
STC512 | 1998-12-03 |  |  | 58
STC512 | 1998-12-09 |  |  | 52
STC512 | 1998-12-17 |  |  | 49
STC512 | 1998-12-22 |  |  | 43
STC512 | 1998-12-30 |  |  | 48
STC512 | 1999-01-07 |  | 7.6
STC512 | 1999-01-14 |  |  | 43
STC512 | 1999-01-21 |  | 13.7
STC512 | 1999-01-27 |  | 9.4
STC512 | 1999-02-04 |  | 11
STC512 | 1999-02-10 |  | 10.7
STC512 | 1999-02-18 |  | 12.6
STC512 | 1999-02-25 |  | 13.6
STC512 | 1999-03-04 |  | 13.6
STC512 | 1999-03-11 |  | 13.3
STC512 | 1999-03-18 |  | 16
STC512 | 1999-03-25 |  | 18
STC512 | 1999-03-30 |  | 16.4
STC512 | 1999-04-08 |  | 12.1
STC512 | 1999-04-15 |  | 22.2
STC512 | 1999-04-22 |  | 18.3
STC512 | 1999-04-29 |  | 15.2
STC512 | 1999-05-06 |  | 20.6
STC512 | 1999-05-13 |  | 19.6
STC512 | 1999-05-20 |  | 22.6
STC512 | 1999-05-27 |  | 26.4
STC512 | 1999-06-03 |  | 20.4
STC512 | 1999-06-10 |  | 22.1
STC512 | 1999-06-17 |  | 27.2
STC512 | 1999-06-24 |  | 26.5
STC512 | 1999-07-01 |  | 25.9
STC512 | 1999-07-08 |  | 26.9
STC512 | 1999-07-15 |  | 25.4
STC512 | 1999-07-29 |  | 24.2
STC512 | 1999-08-05 |  | 26
STC512 | 1999-08-12 |  | 24.2
STC512 | 1999-08-19 |  | 23.4
STC512 | 1999-08-26 |  | 24.4
STC512 | 1999-09-02 |  | 20.1
STC512 | 1999-09-09 |  | 26.2
STC512 | 1999-09-16 |  | 23.2
STC512 | 1999-09-23 |  | 26.1
STC512 | 1999-09-30 |  | 22.5
STC512 | 1999-10-07 |  | 18.4
STC512 | 1999-10-14 |  | 22
STC512 | 1999-10-21 |  | 19.1
STC512 | 1999-10-28 |  | 18.1
STC512 | 2000-03-02 |  | 12.6
STC512 | 2000-03-09 |  | 11.6
STC512 | 2000-03-16 |  | 15.3
STC512 | 2000-06-08 |  | 22.3
STC512 | 2000-06-15 |  | 28.1
STC512 | 2000-08-17 |  | 29
STC512 | 2000-10-26 | 12:30 | 14.6
STC512 | 2000-11-30 | 10:30 | 10.2
STC512 | 2000-12-28 | 12:10 | 8.7
STC512 | 2001-01-25 | 13:15 | 10.3
STC512 | 2001-02-07 | 10:23 | 10.1
STC512 | 2001-02-22 | 13:55 | 15.1
STC512 | 2001-03-13 | 11:35 | 16.7
STC512 | 2001-03-29 | 12:30 | 20.5
STC512 | 2001-04-18 | 11:20 | 19.2
STC512 | 2001-04-26 | 9:22 | 21.2
STC512 | 2001-05-15 | 11:45 | 21.9
STC512 | 2001-05-30 | 13:25 | 26.6

## Minerals
Site Code | Date | Chloride (mg/L) | Sulfate (mg/L) | Hardness (mg/L) | Calcium (mg/L) | Magnesium (mg/L) | TDS (mg/L) | Carbonate (mg/L) | Bicarbonate (mg/L) | Total Alkalinity (mg/L) | Sodium (mg/L)
Water Year 1996
STC512 | 1995-10-25 | 140 | 200 | 210 | 46 | 23
STC512 | 1995-11-27 | 260 | 340 | 350 | 77 | 39
STC512 | 1995-12-28 | 260 | 340 | 360 | 78 | 40
STC512 | 1996-01-25 | 250 | 360 | 340 | 75 | 38
STC512 | 1996-02-22 | 90 | 140 | 160 | 36 | 18
STC512 | 1996-03-28 | 160 | 200 | 220 | 48 | 25
STC512 | 1996-04-25 | 280 | 370 | 370 | 82 | 39
STC512 | 1996-05-30 | 110 | 160 | 190 | 47 | 19
STC512 | 1996-06-27 | 220 | 350 | 325 | NA | NA
STC512 | 1996-07-25 | 210 | 370 | 390 | 93 | 38
STC512 | 1996-08-28 | 150 | 240 | 260 | 57 | 29
STC512 | 1996-09-26 | 180 | 330 | 270 | 57 | 31
Water Year 1997
STC512 | 1996-10-31 |  |  | 220 | 50 | 23 |  | <1* |  |  | 120
STC512 | 1996-11-27 |  |  | 230 | 51 | 26
Water Year 1998
STC512 | 1998-01-28 | 230 | 260 | 360 | 70 | 45
STC512 | 1998-02-11 | 84 | 130 | 190 | 40 | 22 | 510 | <1 | 120 | 99 | 88
STC512 | 1998-03-05 | 87 | 153 | 200 | 43 | 21 | 510 | <1 | 130 | 110 | 85
STC512 | 1998-05-14 | 48 | 83 | 110 | 25 | 11 | 270 | <1 | 66 | 54 | 51
STC512 | 1998-06-24 | 20 | 35 | 55 | 13 | 5 | 190 | <1 | 41 | 34 | 23
Water Year 1999
STC512 | 1998-10-29 | 87 | 130 | 180 | 39 | 19 | 490 | <1 | 130 | 110 | 75
STC512 | 1999-01-27 | 150 | 200 | 260 | 54 | 31 | 760 | <1 | 180 | 150 | 130
STC512 | 1999-04-29 | 330 | 400 | 400 | 82 | 47 | 1300 | <1 | 170 | 140 | 300
STC512 | 1999-07-29 | 210 | 390 | 340 | 77 | 37 |  | <1 | 180 | 150 | 230
Water Year 2000
STC512 | 1999-10-28 | 180 | 200 | 300 | 64 | 33 |  | <1 | 230 | 190 | 190
Water Year 2001
STC512 | 2000-10-26 | 160 | 180 | 270 | 56 | 31 | 770 | <1 | 220 | 180 | 160
STC512 | 2000-11-30 | 240 | 290 | 370 | 77 | 43 | 1100 | <1 | 250 | 200 | 250
STC512 | 2000-12-28 | 290 | 340 | 410 | 83 | 49 | 1200 | <1 | 260 | 210 | 280
STC512 | 2001-01-25 | 290 | 370 | 410 | 84 | 49 | 1300 | <1 | 270 | 220 | 290
STC512 | 2001-02-22 | 280 | 380 | 430 | 92 | 50 | 1300 | <1 | 260 | 210 | 280
STC512 | 2001-03-29 | 330 | 460 | 500 | 110 | 58 | 1500 | <1 | 260 | 220 | 320
STC512 | 2001-04-26 | 200 | 280 | 330 | 70 | 37 | 950 | <1 | 150 | 150 | 200
STC512 | 2001-05-30 | 290 | 390 | 440 | 94 | 49 | NA | 4 | 172 | 176 | 280
STC512 | 2001-06-27 | 220 | 350 | 380 | 83 | 41 | 1100 | <1 | 200 | 170 | 220
STC512 | 2001-08-29 | 260 | NA | NA | NA | NA | 1200 | <1.0 | 210 | 169 | 260
STC512 | 2001-09-26 | NA | NA | 350 | 72 | 41 | NA | <1 | 200 | 170 | 240
Water Year 2002
STC512 | 2001-10-24 | 270 | 250 | 350 | 70 | 43 | 1100 | <1 | 250 | 210 | 260
STC512 | 2001-11-28 | 260 | 270 | 340 | 67 | 43 | 1100 | <1 | 260 | 210 | 250
STC512 | 2001-12-26 | 380 | 400 | 440 | 83 | 56 | 150 | <1 | 280 | 230 | 330
STC512 | 2002-01-30 | 390 | 450 | 500 | 100 | 61 | 1600 | <1 | 290 | 240 | 360
STC512 | 2002-02-27 | 340 | 450 | 490 | 100 | 56 | NA | <1.0 | 268 | 220 | 340
STC512 | 2002-03-27 | 380 | 470 | 540 | 110 | 64 | 1700 | <1.0 | 290 | 240 | 370
STC512 | 2002-04-30 | 360 | 480 | 540 | 120 | 59 | NA | <1.0 | 220 | 180 | 350
STC512 | 2002-05-29 | 290 | 420 | 490 | 100 | 55 | NA | <1.0 | 200 | 190 | 330
STC512 | 2002-06-19 | 320 | 540 | 530 | 120 | 57 | NA | <1.0 | 200 | 160 | 350
STC512 | 2002-09-25 | 230 | 240 | 330 | 66 | 39 | NA | <1.0 | 210 | 170 | 240
Water Year 2003
STC512 | 2002-11-20 | 250 | 240 | 330 | 66 | 40 | 1000 | <1.0 | 250 | 200 | 220
STC512 | 2003-03-25 | 340 | 430 | 490 | 100 | 59
STC512 | 2003-04-24 | 460 | 550 | 600 | 130 | 68
STC512 | 2003-05-29 | 290 | 450 | 470 | 100 | 51
STC512 | 2003-06-26 | 220 | 390 | 390 | 89 | 42
Water Year 2004-2006
No Data Collected

## Nutrients, BOD
Site Code | Date | Nitrate (mg/L) | TKN (mg/L) | Ammonia-N (mg/L) | Phosphorus (mg/L) | Ortho-phosphate-P (mg/L) | Potassium (mg/L) | BOD 5-Day (mg/L) | BOD 10-Day (mg/L)
Water Year 1997
STC512 | 1996-10-31 | [5 empty] | 5.3
STC512 | 1998-02-11 | [5 empty] | 8.4
STC512 | 1998-03-05 | [5 empty] | 5.3
STC512 | 1998-05-14 | [5 empty] | 2.5
STC512 | 1998-06-24 | [5 empty] | 1.6
Water Year 1999
STC512 | 1998-10-29 | [5 empty] | 6.1
STC512 | 1999-01-27 | [5 empty] | 6.5
STC512 | 1999-04-29 | [5 empty] | 7.1
STC512 | 1999-07-29 | [5 empty] | 8.4
Water Year 2000
STC512 | 1999-10-28 | [5 empty] | 8.4
Water Year 2001
STC512 | 2000-10-26 | 3.4 | <2 |  | NA | <1 | 11 | 2.3 | 4.4
STC512 | 2000-11-30 | 6.4 | <2 |  | 0.2 | <1 | 9.9 | 1.8 | 3.5
STC512 | 2000-12-28 | 7.1 | <2 |  | 0.2 | <1 | 10 | 1.7 | 3.0
STC512 | 2001-01-25 | NA | NA |  | 0.3 | <1 | 11 | 2.9 | 5.0
STC512 | 2001-02-07 | NA | <2 |  | NA | <1 | NA
STC512 | 2001-02-22 | 19 | 2.6 |  | NA | <1 | 12 | 4.3 | 8.1
STC512 | 2001-03-29 | 14 | NA |  | 0.4 | <1 | 12 | 3.8 | 6.6
STC512 | 2001-04-26 | 10 | <2 |  | 0.2 | <1 | 8.1 | 2.7 | 5.3
STC512 | 2001-05-30 | 13 | <2 |  | 0.3 | <1 | 10 | 4.2 | 7.2
STC512 | 2001-06-27 | 13 | <2 |  | 0.4 | <1 | 11 | 3.3 | 6.6
STC512 | 2001-08-29 | 9.6 | <2 |  | 0.3 | <1 | NA
STC512 | 2001-09-26 | 3.5 | <2 |  | 0.3 | <1 | 10
Water Year 2002
STC512 | 2001-10-24 | 3.5 | <2 |  | 0.4 | <1 | 11 | 2.9 | 6.0
STC512 | 2001-11-28 | NA | 0.2 |  | NA | <0.03 | 1.4 | 1.8 | 3.5
STC512 | 2001-12-26 | NA | 0.7 |  | 0.2 | 0.1 | 6.2 | 1.8 | 3.4
STC512 | 2002-01-30 | NA | 1.3 |  | 0.2 | 0.1 | 13 | 1.7 | 2.7
STC512 | 2002-02-27 | NA | 1.0 |  | 0.3 | 0.1 | NA | 2.7 | 4.5
STC512 | 2002-03-27 | NA | 1.4 |  | NA | 0.1 | 7.7 | 4.2 | 7.0
STC512 | 2002-04-30 | NA | NA |  | 0.2 | 0.1 | NA | 5.2 | 8.0
STC512 | 2002-05-29 | NA | 0.9 |  | NA | 0.2 | 11 | 3.6 | 6.2
STC512 | 2002-06-19 | NA | 1.4 |  | 0.2 | NA | 8.1 | 5.4 | 10.1
STC512 | 2002-08-28 | NA | 1.5 |  | 0.3 | NA | 7.1 | 3.9 | 8.0
STC512 | 2002-09-25 | [6 empty] | 3.0 | 5.4
Water Year 2003
STC512 | 2002-11-20 | NA | 1.2 |  | 0.3 | 0.1 | 7.0
STC512 | 2002-12-18 | NA | 1.5 |  | 0.1 | <0.03 | 5.4 | 2.3 | 4.3
STC512 | 2003-01-29 | NA | NA |  | 0.2 | 0.2 | 5.6 | 2.2 | 3.6
STC512 | 2003-03-25
STC512 | 2003-04-24
Water Year 2004-2006
No Data Collected

## Trace Metals
Site Code | Date | Total Arsenic (ug/L) | Total Cadmium (ug/L) | Total Cd criteria | Total Chromium (ug/L) | Total Cr criteria | Total Copper (ug/L) | Total Cu criteria | Total Lead (ug/L) | Total Pb criteria | Total Nickel (ug/L) | Total Ni criteria | Total Zinc (ug/L) | Total Zn criteria | Total Mercury (ug/L) | Dissolved Arsenic (ug/L) | Dissolved Cadmium (ug/L) | Dissolved Cd criteria | Dissolved Chromium (ug/L) | Dissolved Cr criteria | Dissolved Copper (ug/L) | Dissolved Cu criteria | Dissolved Lead (ug/L) | Dissolved Pb criteria | Dissolved Nickel (ug/L) | Dissolved Ni criteria | Dissolved Zinc (ug/L) | Dissolved Zn criteria | Dissolved Mercury (ug/L) | Site Code | Date | Hardness (mg/L)
Water Year 1996 | [29 empty] | Water Year 1996
STC512 | 1995-10-25 |  |  |  | 9.0 | 380.0417 | 5.0 | 17.586 | <5 |  | 9.0 | 97.7148 | 9.0 | 224.6636 | [15 empty] | STC512 | 1995-10-25 | 210
STC512 | 1995-11-27 |  |  |  | 6.0 | 577.4647 | 3.0 | 27.2105 | <5 |  | <1 | 150.5374 | 8.0 | 346.342 |  |  |  |  | <1 |  | 9.0 |  | <5 |  | 7.0 |  | 7.0 |  |  | STC512 | 1995-11-27 | 350
STC512 | 1995-12-28 |  |  |  | 6.0 | 590.9428 | 4.0 | 27.8735 | <5 |  | 7.0 | 154.1682 | 7.0 | 354.7084 | [15 empty] | STC512 | 1995-12-28 | 360
STC512 | 1996-01-25 |  |  |  | 8.0 | 563.9167 | 4.0 | 26.5448 | <5 |  | 10 | 146.8906 | 8.0 | 337.9391 | [15 empty] | STC512 | 1996-01-25 | 340
STC512 | 1996-02-22 |  |  |  | 8.0 | 304.1641 | 6.0 | 13.9396 | <5 |  | 10 | 77.6333 | 8.0 | 178.4297 | [15 empty] | STC512 | 1996-02-22 | 160
STC512 | 1996-03-28 |  |  |  | 5.2 | 394.8007 | 5.8 | 18.2992 | <5 |  | 5.9 | 101.6371 | NA | 233.6959 |  |  |  |  | <1 |  | 2.6 |  | <5 |  | <5 |  | NA |  |  | STC512 | 1996-03-28 | 220
STC512 | 1996-04-25 |  |  |  | 6.0 | 604.3533 | 6.0 | 28.5338 | <5 |  | 7.0 | 157.7835 | 12 | 363.0393 |  |  |  |  | 7.0 |  | 6.0 |  | <5 |  | 7.0 |  | 17 |  |  | STC512 | 1996-04-25 | 370
STC512 | 1996-05-30 |  |  |  | 8.0 | 350.1329 | 7.0 | 16.1445 | <5 |  | 7.0 | 89.7818 | NA | 206.3974 | [15 empty] | STC512 | 1996-05-30 | 190
STC512 | 1996-06-27 |  |  |  | 9.0 | 543.4582 | 7.0 | 25.5408 | <5 |  | 8.0 | 141.3892 | 15 | 325.2633 | [15 empty] | STC512 | 1996-06-27 | 325
STC512 | 1996-07-25 |  |  |  | 12 | 630.98 | 8.0 | 29.8466 | <5 |  | 11 | 164.9694 | 20 | 379.5993 | [15 empty] | STC512 | 1996-07-25 | 390
STC512 | 1996-08-28 |  |  |  | 11 | 452.6858 | 7.0 | 21.107 | <5 |  | 9.9 | 117.0659 | 21 | 269.2299 | [15 empty] | STC512 | 1996-08-28 | 260
STC512 | 1996-09-26 |  |  |  | 7.4 | 466.8965 | 5.3 | 21.7987 | <5 |  | 7.7 | 120.8639 | 15 | 277.9783 | [15 empty] | STC512 | 1996-09-26 | 270
Water Year 1998 | [29 empty] | Water Year 1998
STC512 | 1998-01-28 |  |  |  | 5.5 | 590.9428 | 5.4 | 27.8735 | <5.0 |  | 8.6 | 154.1682 | NA | 354.7084 | [15 empty] | STC512 | 1998-01-28 | 360
STC512 | 1998-05-14 |  |  |  | 2.8 | 223.7867 | 2.4 | 10.1205 | <5 |  | <5 | 56.5433 | NA | 129.8938 | [15 empty] | STC512 | 1998-05-14 | 110
STC512 | 1998-06-24 |  |  |  | 2.6 | 126.8501 | 1.9 | 5.5972 | <5.0 |  | <5.0 | 31.4564 | NA | 72.1981 | [15 empty] | STC512 | 1998-06-24 | 55
Water Year 1999 | [29 empty] | Water Year 1999
STC512 | 1998-10-29 |  |  |  | 3.5 | 334.9669 | 3.4 | 15.4156 | <5 |  | 5.5 | 85.7676 | 9.9 | 197.1554 | [15 empty] | STC512 | 1998-10-29 | 180
STC512 | 1999-01-27 |  |  |  | 2.7 | 452.6858 | 4.1 | 21.107 | <5 |  | 5.1 | 117.0659 | NA | 269.2299 | [15 empty] | STC512 | 1999-01-27 | 260
STC512 | 1999-04-29 |  |  |  | 2.5 | 644.2001 | 3.6 | 30.4994 | <5 |  | <5 | 168.541 | 7.6 | 387.8303 | [15 empty] | STC512 | 1999-04-29 | 400
STC512 | 1999-07-29 |  |  |  | 5.9 | 563.9167 | 7.1 | 26.5448 | <5 |  | 8.7 | 146.8906 | 15 | 337.9391 | [15 empty] | STC512 | 1999-07-29 | 340
Water Year 2000 | [29 empty] | Water Year 2000
STC512 | 1999-10-28 |  |  |  | 3.8 | 508.9745 | 3.5 | 23.8523 | <5 |  | 7.0 | 132.1318 | 8.1 | 303.9353 | [15 empty] | STC512 | 1999-10-28 | 300
Water Year 2001 | [29 empty] | Water Year 2001
STC512 | 2000-10-26 |  |  |  | 2.5 | 466.8965 | 2.2 | 21.7987 | <5 |  | 6.4 | 120.8639 | 5.9 | 277.9783 |  |  |  |  | <1 |  | <1 | 20.9268 | <5 |  | <5 |  | <2 |  |  | STC512 | 2000-10-26 | 270
STC512 | 2000-11-30 |  |  |  | 1.7 | 604.3533 | 1.9 | 28.5338 | <5 |  | <5 | 157.7835 | 3.4 | 363.0393 |  |  |  |  | <1 |  | 1.1 | 27.3924 | <5 |  | <5 |  | <2 |  |  | STC512 | 2000-11-30 | 370
STC512 | 2000-12-28 |  |  |  | 1.3 | 657.3606 | 2.3 | 31.1498 | <5 |  | <5 | 172.0988 | <2 | 396.03 |  |  |  |  | <1 |  | <1 | 29.9038 | <5 |  | <5 |  | <2 |  |  | STC512 | 2000-12-28 | 410
STC512 | 2001-01-25 |  |  |  | 2.0 | 657.3606 | 3.2 | 31.1498 | <5 |  | <5 | 172.0988 | 3.4 | 396.03 |  |  |  |  | <1 |  | <1 | 29.9038 | <5 |  | <5 |  | <2 |  |  | STC512 | 2001-01-25 | 410
STC512 | 2001-02-22 |  |  |  | 3.2 | 683.5092 | 4.5 | 32.4436 | <5 |  | 6.4 | 179.1749 | 5.6 | 412.3387 |  |  |  |  | <1 |  | 1.4 | 31.1459 | <5 |  | <5 |  | <2 |  |  | STC512 | 2001-02-22 | 430
STC512 | 2001-03-29 |  |  |  | 5.5 | 773.375 | 4.8 | 36.9063 | <5 |  | 8.4 | 203.5595 | 19 | 468.5475 |  |  |  |  | <1 |  | 2.2 | 35.4301 | <5 |  | <5 |  | <2 |  |  | STC512 | 2001-03-29 | 500
STC512 | 2001-04-26 |  |  |  | 2.4 | 550.2963 | 3.3 | 25.8762 | <5 |  | <5 | 143.2272 | 4.9 | 329.4983 |  |  |  |  | <1 |  | <1 | 24.8412 | <5 |  | <5 |  | <2 |  |  | STC512 | 2001-04-26 | 330
STC512 | 2001-05-30 |  |  |  | 3.4 | 696.5005 | 4.1 | 33.0873 | <5 |  | 6.8 | 182.6938 | 7.6 | 420.4494 |  |  |  |  | <1 |  | 1.3 | 31.7638 | <5 |  | <5 |  | <2 |  |  | STC512 | 2001-05-30 | 440
STC512 | 2001-07-25 |  |  |  | 5.8 |  | 5.4 |  | <5 |  | 8.5 |  | 14
STC512 | 2001-08-29 | 5.1 | <1 |  | 2.9 |  | 3.0 |  | <5 |  | 5.4 |  | 5.4 |  |  | 4.5 | <1 |  | <1 |  | 2.1 |  | <5 |  | <5 |  | 2.3 |  |  | STC512 | 2001-08-29 | NA
STC512 | 2001-09-26 | <4 | <0.1 |  | 5.4 | 577.4647 | 4.8 | 27.2105 | <5 |  | 8.5 | 150.5374 | 9.3 | 346.342 | <0.2 | <4 | <0.1 |  | <1 |  | 1.6 | 26.1221 | <5 |  | <5 |  | <2 |  | <0.2 | STC512 | 2001-09-26 | 350
Water Year 2002 | [29 empty] | Water Year 2002
STC512 | 2001-10-24 | 4.9 | <0.1 |  | NA | 577.4647 | 1.9 | 27.2105 | <5.0 |  | <5.0 | 150.5374 | <2.0 | 346.342 | <0.2 | 4.4 | <0.1 |  | NA |  | 1.2 | 26.1221 | <5.0 |  | <5.0 |  | <2.0 |  | <0.2 | STC512 | 2001-10-24 | 350
STC512 | 2001-11-28 | 5.8 | <0.1 |  | <1.0 | 563.9167 | 1.2 | 26.5448 | <5.0 |  | <5.0 | 146.8906 | 3.2 | 337.9391 | <0.2 | 4.9 | <0.1 |  | <1.0 |  | <1.0 | 25.483 | <5.0 |  | <5.0 |  | NA |  | <0.2 | STC512 | 2001-11-28 | 340
STC512 | 2001-12-26 | 5.6 | <0.1 |  | 3.7 | 696.5005 | 3.2 | 33.0873 | <5 |  | 6.2 | 182.6938 | 8.2 | 420.4494 | <0.2 | <4 | <0.1 |  | <1 |  | 1.1 | 31.7638 | <5 |  | <5 |  | 3.8 | 414.5631 | <0.2 | STC512 | 2001-12-26 | 440
STC512 | 2002-01-30 | <4 | <0.1 |  | 1.0 | 773.375 | <1 | 36.9063 | <5 |  | <5 | 203.5595 | <2 | 468.5475 | <0.2 | <4 | <0.1 |  | <1 |  | <1 | 35.4301 | <5 |  | <5 |  | <2 |  | <0.2 | STC512 | 2002-01-30 | 500
STC512 | 2002-03-27 | 4.6 | <0.1 |  | 2.6 | 823.6907 | 3.2 | 39.415 | <5.0 |  | 6.7 | 217.2541 | 6.9 | 500.1192 | <0.2 | 4.2 | <0.1 |  | <1.0 |  | 1.5 | 37.8384 | <5.0 |  | <5.0 |  | <2.0 |  | <0.2 | STC512 | 2002-03-27 | 540
STC512 | 2002-04-30 | <4.0 | <0.1 |  | 2.4 | 823.6907 | 2.5 | 39.415 | <5.0 |  | 5.1 | 217.2541 | 4.3 | 500.1192 | <0.2 | <4.0 | <0.1 |  | <1.0 |  | <1.0 | 37.8384 | <5.0 |  | <5.0 |  | <2.0 |  | <0.2 | STC512 | 2002-04-30 | 540
STC512 | 2002-05-29 | 6.0 | <0.1 |  | 4.8 | 760.684 | NA | 36.2747 | <5.0 |  | 7.4 | 200.1099 | 7.3 | 460.5953 | <0.2 | 5.0 | <0.1 |  | <1.0 |  | 1.3 | 34.8237 | <5.0 |  | <5.0 |  | <2.0 |  | <0.2 | STC512 | 2002-05-29 | 490
STC512 | 2002-06-19 | 5.8 | <0.1 |  | 6.9 | 811.177 | 7.2 | 38.7904 | <5.0 |  | 9.1 | 213.8455 | 12 | 492.2608 | <0.2 | <4.0 | <0.1 |  | 3.2 | 697.6122 | 4.0 | 37.2388 | <5.0 |  | <5.0 |  | 6.1 | 485.3692 | <0.2 | STC512 | 2002-06-19 | 530
STC512 | 2002-09-25 | 6.8 | <0.1 |  | 6.1 | 550.2963 | NA | 25.8762 | <5.0 |  | 8.9 | 143.2272 | 12 | 329.4983 | <0.2 | 5.3 | <0.1 |  | <1.0 |  | NA | 24.8412 | <5.0 |  | <5.0 |  | <2.0 |  | <0.2 | STC512 | 2002-09-25 | 330
Water Year 2003 | [29 empty] | Water Year 2003
STC512 | 2002-11-20 | <4.0 | <0.1 |  | 1.1 | 550.2963 | 2.3 | 25.8762 | <5.0 |  | NA | 143.2272 | NA | 329.4983 | <0.2 | <4.0 | <0.1 |  | <1.0 |  | 1.5 | 24.8412 | <5.0 |  | <5.0 |  | <2.0 |  | <0.2 | STC512 | 2002-11-20 | 330
STC512 | 2003-03-25 | 8.2 | <0.1 |  | 7.2 | 760.684 | 5.4 | 36.2747 | <5.0 |  | 9.3 | 200.1099 | 13 | 460.5953 | <0.2 | [14 empty] | STC512 | 2003-03-25 | 490
STC512 | 2003-04-24 | <4.0 | <0.1 |  | 2.1 | 897.924 | 2.5 | 43.1282 | <5.0 |  | <5.0 | 237.5083 | <2.0 | 546.8194 | <0.2 | [14 empty] | STC512 | 2003-04-24 | 600
STC512 | 2003-05-29 | 9.4 | <0.1 |  | 10 | 735.1599 | 7.5 | 35.0057 | <5.0 |  | 13 | 193.178 | 16 | 444.6157 | <0.2 | [14 empty] | STC512 | 2003-05-29 | 470
STC512 | 2003-06-26 | 5.8 | <0.1 |  | 6.8 | 630.98 | 5.5 | 29.8466 | <5.0 |  | 8.9 | 164.9694 | 13 | 379.5993 | NA | [14 empty] | STC512 | 2003-06-26 | 390
Water Year 2004-2006 | [29 empty] | Water Year 2004-2006
No Data Collected | [29 empty] | No Data Collected

## Bioassay
|  | 96h Acute Fathead Minnow (% Survival) |  | 48h Acute Ceriodaphnia Dubia (% Survival) |  | Algae Cell Growth |  |  | Chronic Fathead Minnow - 7day |  |  |  |  | Chronic Ceriodaphnia Dubia - 6 day
Site Code | Date | Result | Control | Result | Control | Result (million/ml) | Control (million/ml) | MDD(%) | Result (% Survival) | Control (% Survival) | Avg Dry Weight Result (mg) | Avg Dry Weight Control (mg) | Growth MDD(%) | Result (% Survival) | Control (% Survival) | Avg # Young / Adult Result | Avg # Young / Adult Control | Repro MDD(%)
Water Year 2001
STC512 | 2000-10-26 | 100 | 100 | NA | NA
Water Year 2002
STC512 | 2001-10-24 | 100 | 100 | 100 | 100
STC512 | 2001-11-28 | NA | NA | 100 | 100
STC512 | 2001-12-26 | 100 | 100 | 100 | 100
STC512 | 2002-01-30 | 90 | 100 | 100 | 90
STC512 | 2002-02-27 | 95 | 100 | 100 | 100
STC512 | 2002-04-30 | 100 | 100 | 100 | 100
STC512 | 2002-05-29 | 100 | 100 | 100 | 100
STC512 | 2002-06-19 | 100 | 100 | 100 | 100
STC512 | 2002-08-28 | 95 | 100 | NA | NA
STC512 | 2002-09-25 | 85 | 100 | 100 | 100
Water Year 2003
STC512 | 2002-11-20 | 100 | 100 | 100 | 100
Water Year 2004
STC512 | 2004-03-11 | [7 empty] | 96.7 | 97.5 | 0.62 | 0.6 | 16 | 100 | 100 | 22.3 | 20 | 26
STC512 | 2004-03-25 | [7 empty] | 85.7 | 97.5 | 0.55* | 0.68 | 11 | 100 | 100 | 28.6 | 20.9 | N/A
STC512 | 2004-04-15 | [7 empty] | 100 | 97.5 | 0.68 | 0.59 | 7.2 | 100 | 100 | 14.0* | 21.8 | 13
STC512 | 2004-04-29 | [7 empty] | 90 | 100 | 0.46* | 0.62 | 16 | 100 | 100 | 17.1* | 20 | 11
STC512 | 2004-05-13 | [7 empty] | 96.2 | 100 | 0.63 | 0.68 | 13 | 100 | 100 | 22.3 | 17.3 | 24
STC512 | 05/27/2004^ | [7 empty] | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
STC512 | 2004-06-10 | [7 empty] | 90 | 97.6 | 0.47* | 0.58 | 13 | 100 | 100 | 25.3 | 25.2 | 12
STC512 | 2004-06-24 | [7 empty] | 93.1 | 100 | 0.65 | 0.67 | 13 | 100 | 100 | 38.2 | 21.1 | 17
Water Year 2005
STC512 | 2004-11-18 | [7 empty] | 92.9 | 100 | 0.56 | 0.46 | 16
STC512 | 2004-12-22 | [7 empty] | 85.7 | 95.2 | 0.51* | 0.61 | 16
STC512 | 2005-01-20 | [7 empty] | 92.5 | 97.4 | 0.82 | 0.92 | 19
STC512 | 2005-02-17 | [7 empty] | 87.2 | 97.5 | 0.32* | 0.38 | 14
STC512 | 2005-03-24 | [7 empty] | 97.4 | 97.5 | 0.55 | 0.41 | 8.1
STC512 | 2005-04-21 | [7 empty] | N/A | N/A | N/A | N/A | N/A
STC512 | 2005-05-19 | [7 empty] | 87.5* | 100 | 0.57 | 0.62 | 21
STC512 | 2005-06-23 | [7 empty] | N/A | N/A | N/A | N/A | N/A
STC512 | 2005-09-22 | [7 empty] | 82.5* | 97.5 | 0.31* | 0.45 | 20
Water Year 2006
STC512 | 2005-10-20 | [7 empty] | 92.3 | 97.6 | 0.43 | 0.38 | 10
STC512 | 2005-11-17 | [7 empty] | 57.5* | 97.5 | 0.19* | 0.3 | 7.2
STC512 | 2005-12-29 |  |  |  |  | 2.52 | 2 | 3.6 | 100 | 97.5 | 0.3 | 0.36 | 20 | 100 | 100 | 19.1 | 22.3 | 23
STC512 | 2006-01-26 |  |  |  |  | 4.26** | 1.83 | 8.5 | 77.5* | 100 | 0.41* | 0.55 | 14 | 100 | 100 | 15.7 | 16 | 13
STC512 | 2006-02-23 |  |  |  |  | N/A | N/A | N/A | 80.6* | 97.4 | 0.43 | 0.54 | 24 | 100 | 100 | 25.1 | 24.7 | 14
STC512 | 2006-03-23 |  |  |  |  | 3.03 | 1.83 | 16 | 82.1* | 100 | 0.60* | 0.81 | 9.5 | 90 | 100 | 23.5* | 29.3 | 20
STC512 | 2006-07-20 |  |  |  |  | 4.11 | 1.6 | 21 | 87.5* | 100 | 0.52* | 0.68 | 17 | 100 | 100 | 26.6 | 27.9 | 11
* Significantly reduced from the lab control.
** Significantly greater than the lab control.
^ Fish were from a "forced hatch," duplicate failed QA.
1 Duplicate sample for the set was low - 77% recovery.
2 Testing for the Fathead minnow was initiated when samples were approx. 48h old due to untimely shipping of fish by fish supplier.
3 Samples qualified, but duplicate sample recovery for the set was high - 126% (53.8%/42.5%)